## Common Controls
Control Activity # | Recommended Control Activity | Requirements | Status | Responsible | Deloitte Comments | DigiPlex Comments
CA1 | DigiPlex has established ethical values applicable to the company and its employees, supported by governing documents and commitment are communicated by management. | 1. The governing documents established by DigiPlex for its employees to follow. 2. Screenshot from share point demonstrating that the governing documents were communicated to all employees | Received |  | Have received DigiPlex's Group Management Plan, need a screenshot of this being communicated by management | Ca1 Screenshot of Man plan communication in SharePoint
CA2 | The DigiPlex Code of Business Principles reflect a commitment to integrity and ethical business practices and regulatory compliance. They summarise the principles and policies that guide DigiPlex’s business activities and communicated to all employees via or Internet. | 1. "Code of Business Principles" 2. Screenshot of the Code of Business Principles being communicated to employees through share point | Received
CA3 | DigiPlex has established management reporting lines with defined organization structure for governance. | 1. Organizational Chart 2. Document defining roles and responsibilities at each level in the organization 3. Evidence of this being communicated to employees | Received |  |  | CA4 ISMS Manual shows all responsibilities and screenshot shows communication
CA4 | DigiPlex has established a formal process to communicate internal control responsibilities to all employees. | 1. ISMS policies 2. Screenshot/document showing communication of ISMS policies to all employees | Received |  |  | CA4 ISMS Manual shows all procedures. CA4 shows all policies and processes communicated to employees
CA5 | DigiPlex has established a whistle blower hotline enabling anonymous and confidential communication. | 1. Whistle blower policy 2. Evidence showing channels of communication established for whistle blower hotline | Received |  | Section 2.10 in "Code of Business Principles"
CA6 | DigiPlex management has established a Balanced Scorecard to reflect business objectives, structure and processes. | 1. Screenshot of Balanced Scorecard 2. Document explaining the KPI`s included in scoreboard (to see if it reflects business objectives, structure and processes) | Received
CA7 | DigiPlex has defined and documented roles and responsibilities for each level within the organization structure and the same is communicated to the employees | Same as CA3 | Received |  |  | See CA4
CA8 | Employees are required to sign Confidentiality Agreements consisting of Non-Disclosure Agreements (NDA), and duties of insider information. | 1. List of new joiners from 01.01.2019-30.10.2019 from HR Samples will be selected post receipt of population 2. Signed Confidentiality Agreements (consisting of NDA and duties of insider information for the sample of new joiners | Received |  |  | 1 See CA8
CA8.1 | Employees are required to sign Confidentiality Agreements consisting of Non-Disclosure Agreements (NDA), and duties of insider information. | HR to show the documents for Signed Confidentiality Agreements (consisting of NDA and duties of insider information for the sample of new joiners mentioned below: Name Start date Place Christopher Gordon Rees 17.06.2019 DigiPlex Fet AS Mattias Borgelin 19.08.2019 DigiPlex Stockholm 1 AB Rune Asak 18.03.2019 DigiPlex Norway AS | Received
CA9 | Disciplinary action is taken against Associates for violating Security Policy based on disciplinary procedures documented as part of the Information security policy . | 1. Information Security Policy 2. List of incidents of violations from 01.01.2019-30.10.2019 , if any. Please confirm if there were no such incidents in the year 2019 3. Evidence of disciplinary actions being taken for sample incidents | Received |  |  | 1. See CA4 & CA9 2. No such incidents. 3 No Disciplinaries
CA10 | Background checks are carried out for employees at the time joining as per defined company procedures. | 1. List of new joiners from 01.01.2019-30.10.2019 Samples will be selected post receipt of population 2. Evidence of background checks being performed on sample new joiners | Received |  |  | 1 See CA8
CA11 | DigiPlex has established procedures for responding to security incidents and periodic evaluation of these procedures. | 1. Security Incident management Policy 2. Incident Response Procedures 3. Evidence of policies being periodically reviewed | Received |  |  | See CA4 & CA 11 (1) CA11(2) & CA11 (3) Document register
CA12 | DigiPlex has established roles and responsibilities for the design, implementation, maintenance, and execution of the incident response procedures, including the use of external resources when necessary | 1. Incident Response Procedure | Received |  |  | See Above
CA13 | Procedure to classify incidents as problems have been defined and documented and a root cause analysis for problems is documented. | 1. Incident Classification Procedure 2. List of incident and problems for the year 2019 Screenshot of the list being extracted Samples will be selected post receipt of population 3. Root cause analysis for the sample of problems | Received |  |  | See CA 11
CA14 | DigiPlex' governing documents are documented, maintained and communicated in DigiPlex’s Information Security Management System (ISMS). The following governing documents are revised at least annually and approved by management, and authorised by CEO or COO: • Information Security policy statement • Information Security Manual • Legal register • Business continuity policy statement • Business continuity manual • Crisis communication Plan • Site business continuity plan • Risk management, Asset risk register | 1. Screenshot of DigiPlex `governing documents communicated on ISMS. 2. Evidence of the following documents being approved and revised annually: • Information Security policy statement • Information Security Manual • Legal register • Business continuity policy statement • Business continuity manual • Crisis communication Plan • Site business continuity plan • Risk management, Asset risk register | Received |  | Missing documentation: 1. Information Security Policy Statement 2. Legal Register 3. Crisis Communication Plan Missing screenshot for the policy being published on ie intranet: 1. Information Security Manual 2. Legal Register 3. Business Continuity Policy Statement 4. Business Continuity Manual 5. Crisis Communication Plan 6. Site Business Continuity Plan 7. Risk Management, Asset Risk Register | DigiPlex Document Register uploaded Policies statements and every year, process and procedures every three years
CA15 | DigiPlex has identified and manages an inventory/ overview of information assets. | 1. Asset Inventory register containing details of all assets in the data centre premises 2. Asset Management Policy | Received |  |  | See CA49 as evidence
CA33 | Access to data centre facilities is revoked on the last working day of resigned/terminated employee. Customer access is revoked based on intimation from authorized customer personnel through ticket in Service Now. | 1. List of authorized individuals who can access the data centre 2. List of employees who resigned DigiPlex during the year 2019 with their last working date from HR Samples will be selected post receipt of population | Received | Steven Moir uploaded | Point #1 is pending: Need a list of terminated employees | #2 See CA33
CA33.1 | Access to data centre facilities is revoked on the last working day of resigned/terminated employee. Customer access is revoked based on intimation from authorized customer personnel through ticket in Service Now. | 1. Please provide evidence from access control system at DFAS showing that the access cards for the following samples were deactivated along with date of deactivation. 2. Please provide the log of the access card for the following samples with date and timestamp Samples: Name -Surname Eirik -Størkersen Max -Blood Kyle Rodger -Maxwell-Cox | Received
CA47 | DigiPlex has established risk assessment procedures involving appropriate levels of management to identify risks at entity, subsidiary and division levels and assess their impact. | 1. Risk management policy 2. Document of the Risk Assessment Process | Received |  |  | DigiPlex has two Risk Assessment procedures CA47 (1) shows the strategic Risk Assessment Procedure for the entire business. CA47 (2) provides evidence of register. CA47 (3) provides notes form the last meeting in September and CA47 (4) shows DigiPlex's continual Management review. Each site has an Asset /Risk Register see CA49 (1) for the procedure & CA49 (2)
CA48 | DigiPlex' risk assessment includes considering how the risk should be managed and whether to accept, avoid, reduce, or share the risk. | 1. Risk Assessment performed for the year 2019 | Received |  |  | see CA47 above
CA49 | DigiPlex' risk identification and assessment process includes (1) identifying information assets (physical), (2) assessing the criticality of those information assets, (3) identifying the threats to the assets (intentional, unintentional and environmental), and (4) identifying the vulnerabilities of the identified assets. | Same CA47 and CA48 | Received |  |  | See CA49 as evidence
CA50 | DigiPlex' risk assessment process includes identification of potential changes to the regulatory, economic, and physical environment in which the entity operates. | Same as CA47 | Received |  |  | See strategic Risk Register CA47 (1)
CA51 | Risks identified during risk assessment are documented and mitigating procedures are initiated. | 1. Risk register 2. List of mitigating actions initiated as a result of risk assessment for the year 2019 | Received |  | Point #2 is pending | See strategic Risk Register CA47 (1) Point #2 see column T CA47(2) , and Notes from last review Ca47(3)
CA52 | Security requirements for the subcontractors are agreed in service agreements, which include statements on the rights and obligations of both parties and a confidentiality agreement, if there is a possibility that the subcontractor personnel can see confidential information. | 1. List of subcontractors from 01.01.2019-31.12.2019 Samples will be selected post receipt of population 2. Service agreements for the sample of subcontractors | Received |  | Evidence missing: - Service Agreement for the sample of subcontractors | See CA52
CA53 | The Supplier Code of Practice reflects what expectations DigiPlex requires from outsources service providers with regard to integrity and ethical business practises | 1. Supplier Code of Practice | Received |  |  | DigiPlex supplier code communicated via website and also mention in each supplier contract. In addition 6.5 allows our supply chain to whistle blow to us also see uploaded evidence
CA54 | DigiPlex has established and documented a change management process which is approved by the 'designation'. Changes are raised, classified, tracked and approved in Service Now ticketing system | 1. Change management policy 2. List of changes during 2019 for all 4 locations 3. Sample changes to be selected and ServiceNow tickets will be asked later | Received |  | Evidence missing: - List of changes during 2019 for all 4 locations - Sample changes to be selected and ServiceNow tickets will be asked later | 1. Please see CA54 Item 2 conference call to randomly select changes
CA55 | DigiPlex has established and documented Business Continuity and Disaster Recovery plan | 1. Documented and approved business continuity and disaster recovery plan along with revision history | Received |  |  | DigiPlex has a two tier Business Contuity Plan CA55 (1) is the Company Manual Supported with the Major Incident Plan and on Site CA55(2) Site BCP. Evidence supplied is for DNAS & DRAS
CA56 | DigiPlex has implemented testing of the Business Continuity Plan, this is performed on a periodic basis. The testing includes (1) development of testing scenarios based on threat likelihood and magnitude; (2) consideration of system components from across the entity that can impair the availability; (3) scenarios that consider the potential for the lack of availability of key personnel; and (4) revision of continuity plans and systems based on test results. | 1. Disaster recovery drill schedule and disaster recovery reports for all 4 locations | Received | Steve Moir | We understand that DigiPlex has not performed a disaster recovery drill till now for the year 2019 | This is correct

## DNAS
Control Activity # | Recommended Control Activity | Requirements | Status | Responsible | Deloitte Comments | Digiplex Comments
CA16 | DigiPlex has implemented detection measures to identify anomalies that could result from failure of environmental control systems, failure of electrical/power supply, fire, and water damage. | 1. Screenshot of monitoring consoles/ dashboard for systems installed to monitor anomalies such as excessive heat in the aisles, water leakage, electricity fluctuations, battery leakage, etc. | Received |  | Collated. Yet to share
CA17 | DigiPlex has implemented and maintains environmental protection mechanisms, redundancy on power supply systems, fire suppression systems and cooling systems with automated alarm technologies in order to maintain constant uptime. | 1. List of devices installed for environmental protection 2. BMS system contract and maintenance schedule with vendor | Received
CA18 | DigiPlex operations team monitors and evaluates current processing capacity and use of system components on a continuous basis. Alerts are triggered when capacity thresholds are reached and mitigating actions are initiated. | 1. Screenshot of capacity management console/ dashboard/ monitoring system 2. Screenshot of the alerts configured to raise alarms in case of anomalies | Received |  | Collated. Yet to share
CA19 | Appropriate fire detection & suppression systems are in implemented at DCs. Fire detection and suppression systems are covered under annual maintenance contract with respective vendors. | 1. Details about fire suppression system installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received |  | Point #2 is missing: 2. Copy of maintenance contract for fire suppression and fire detection systems
CA20 | Fire detection and suppression systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received
CA21 | Appropriate HVAC controls are in place to maintain heat, ventilation and air conditioning in the DC. Temperature controls & monitoring is in place HVAC systems are covered under annual maintenance contract with respective vendors. | 1. Details about hvac system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received |  | Point #2 is missing: 2. Copy of maintenance contract
CA22 | HVAC systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received
CA23 | Uninterrupted Power System (UPS) and DGs are installed at the primary and secondary DC facilities to provide uninterrupted power supply and ensure backup whenever there are any power interruptions. UPS and DGs is covered under annual maintenance contract with respective vendors. | 1. Details about UPS system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received
CA24 | UPS and DGs are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received
CA25 | Fire & Emergency Drills are conducted at the DC facilities on a periodic basis and as per the applicable regulations | 1. Mock drill calendar and schedule for the year 2019 2. Fire drill reports for the drills conducted in the year 2019 3. Fire drill procedure are documented and updated on an annual basis. Please share the fire drill procedure document. | Received |  | Point #1 and Point 2 are missing: - Mock drill calendar and schedule for the year 2019 - Fire drill reports for the year 2019
CA26 | Server rooms are constructed to protect server room equipment from environmental threats, e.g. overheating, power outage and excessive moisture: - Raised access floors and adequate leak detection systems - Different fire zones, the server rooms are their own fire zone | To be inspected on site | Received
CA27 | Closed Circuit Television (CCTV) systems are installed at strategic locations at the entry and exit points of the DC facilities to record all the events. The CCTV systems are continuously monitored by the Physical Security team. The CCTV equipment is maintained on a regular basis. | To be inspected on site 2. Maintenance reports and contract | Received | See CA27 and Maintence Reports uploaded 19/12/2019 SM | The reports provided are from Jotel and only for access control. I need evidence of Evidence of CCTV maintenance report for 2019 from Milestone and Nokas.
CA28 | There are no windows or skylights in server rooms. All other openings (e.g. ventilation) are properly blocked or locked. | To be inspected on site | Received
CA29 | Camera surveillance is installed both externally and internally in order to secure all important parts of the data centres and in order to detect unauthorized access. | To be inspected on site | Received
CA30 | The data centres are equipped with access control and alarm systems in order to detect unauthorized access to the data centre premises. | To be inspected on site | Received |  | Update the control to demonstrate that all stages of access have alarms configured.
CA31 | The access control and alarm systems are regularly maintained as per defined scheduled. | 1. Copy of the annual maintenance contract with vendor/ service provider 2. Preventive maintenance schedule and preventive maintenance reports for the year 2019 3. Test results for mock tests performed on the alarm system during the year 2019 | Received
CA32 | DigiPlex has established and documented procedures for access creation and revocation to the DC facilities as per 'Policy name' | 1. DigiPlex Access management policies | Received |  | Review period for policies is 2 years. Same for DRAS and DNAS - Issued date March 2017
CA33 | Access to data centre facilities is revoked on the last working day of resigned/terminated employee. Customer access is revoked based on intimation from authorized customer personnel through ticket in Service Now. | 1. List of deactivated access from access control system during the year 2019 with the date and time of access deactivation Samples will be selected post receipt of population | Received |  | Request updated.
CA34 | DigiPlex has processes in place to periodically review physical access to ensure consistency with job responsibilities. | 1. User access review process document/ SOP 2. Evidnece to demonstrate that user access review was performed as per periodicity for the year 2019 | Control is not in place |  | This control is not in place.
CA35 | List of authorized individuals who can access the data centre is maintained and reviewed by the management on a quarterly basis for updates, if any. | 1. List of authorized individuals who can access the data centre | Pending | Pete Sullivan | Dependent on CA33
CA36 | Two factor authentication mechanism established to access the data centre. E.g. swipe card and biometric or Proximity and biometric based access control systems | To be inspected on site | Received
CA37 | The DC facilities are manned by trained Security Guards round the clock, for restricting access to authorized individuals. | To be inspected on site | Received
CA38 | Entry and exit details of the vendors and visitors accessing the DC facilities are logged and documented. Access to visitors is granted only after obtaining appropriate approvals from designated personnel in the management | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data centre for maintenance purposes (from the access control system) You can also provide a complete list of users from the access control system with their classification (vendor, customer, DigiPlex employee, etc. ) and we can select samples from it accordingly. 4. Visitor register for the year 2019 Samples for visitors and vendors to be selected after receipt of the population | Partially Received | See CA 38 Uploaded 20122019 SM | Point #3 is pending: 3: List of authorized vendor who are authorized to access the DC facilities
CA39 | Movements of materials within the DC is monitored and tracked, logged and only permitted with proper authorization | 1. SOP/ Procedure document describe the process of movement of materials 2. Goods Movement register for the year 2019 | Received
CA40 | Administrators revoke/remove physical access rights of terminated//resigned/released personnel, based on documented procedures. Operational Manager's procedures upon termination also include collecting key cards and request removal of access rights to the server rooms, based on information of terminated employees (e.g. from HR or subcontractor). | 1. List of administrators authorized to grant/ modify physical access rights. Please provide a list extracted from the access management system or provide a screenshot from the system 2. List of employees resigned/ terminated during the year 2019 | Received | SM update 10/01/2020 SEe CA 40 | Need policy/documentation of the physical access procedures.
CA41 | The Operational Manager reviews a list of users that have access to server rooms at least annually to ensure that access rights are still relevant. | 1. User access review process document/ SOP 2. Evidence to demonstrate that user access review was performed as per periodicity for the year 2019 | NA | Pete Sullivan | Same as CA35
CA42 | Privileged access to software which is used to maintain physical access rights to the server rooms is restricted to authorized persons. | 1. List of users having administrative access to access management systems at the data centre | Pending | Pete Sullivan | Point #1 and #2 is pending: 1. Evidence of restricted access 2. List of authorized persons
CA43 | Log of unsuccessful access attempts to the DC facilities are recorded and reviewed by DC manager for investigation. Corrective action are initiated for identified deviations, if any. | 1. Logs of failed access attempts for the last 3 months 2. Evidence demonstrating that these logs were reviewed by the DC manager | Received
CA44 | Visitors and vendors (other than those holding approved access cards) are required to sign in when they arrive at the data centre. Visitors are given an ID badge, which is required for moving within the premises. All visitors must be escorted by an authorized person while on the premises. | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data center for maintenance purposes 4. Visitor register for the year 2019 Samples for visitors and vendors to be selected after receipt of the population | Partially Received |  | Point #3 is pending: 3: List of authorized vendor users
CA45 | If mechanical locks are used to access server rooms, an alarm is triggered. | To be inspected on site | Received |  | Control to be updated to demonstrate Key Watcher mechanism
CA46 | There are formal processes for managing and controlling access to mechanical keys including: - Mechanical keys are kept in a hidden and physical secured lockbox at each location (separate systems) - Access to mechanical keys are restricted to a limited number of authorized personnel. Access to specific keys i granted based on needs - Code and fingerprint are required to gain access to lockbox | To be inspected on site | Received
New Control - 1 | Access to data centre facilities is granted to Digiplex employees based on approvals as per the 'access management procedures'. Access to customers is granted based on approvals from authorized customer personnel through tickets documented in Service Now. Access to maintenance vendors/ suppliers is granted based on approvals from site manager | 1. List of authorized individuals who can access the data centre from the access control system with classification (employee, customer, vendor, etc.) 2. Samples to be selected after receipt of the entire list of users mentioned in point #1 | Pending | Pete Sullivan

## DNAS List of Equipment
List of Equipment
|  |  |  | Annual maintenance contract |  | Maintenance Details
CA# | Equipment | Type | Serviced by | Valid from | Valid till | Frequency | Maintenance report | Deloitte Comments
CA23 & CA24 | UPS1 | Schneider | Schneider | 2018-07-01 | See comment | Annual | Pending | Confirmation that the contract is extended for year 2019
CA23 & CA24 | UPS2 | Aktiv Power | Active Power | 15.may.19 | 14.may.20 | Annual | Pending | Contract is yet to be signed by Active Power
CA23 & CA24 | DG | MTU | Bostek / Hedmark Services | 2018-01-01 | 2022-12-31 | Pending | Pending | Margrethe to check the document and confirm the frequency
CA21 & CA22 | Chiller (HVAC) | Schneider | Schneider | Pending | Pending | Pending | Pending | -
CA27 | CCTV | Milestone | Nokas | Pending | Pending | Pending | Pending | -
CA19 & CA20 | Fire Suppression | Honeywell (Argonite/ Novec1230) | Nortronic | Pending | Pending | Pending | Pending | -
CA31 | Access Control | Thorguard | Jotel (Now GK Norge) | 2019-02-21 | See comment | Annual | Pending | Confirmation that the contract is extended for year 2019
CA19 & CA20 | Fire Extinguishers | - | Aktiv Brannvern AS | Pending | Pending | Pending | Pending
CA17 | BMS (Monitoring System) | Siemens | Blue Yonder | 2015-11-12 | 2017-11-11 | Annual | Pending | Out of date contract.
Formulas:
Valid till = [Valid from]+365*5
Valid till = [Valid from]+365+365

## DFAS
Control Activity # | Recommended Control Activity | Requirements | Status | Responsible | Deloitte Comments | Digiplex Comments
CA16 | DigiPlex has implemented detection measures to identify anomalies that could result from failure of environmental control systems, failure of electrical/power supply, fire, and water damage. | 1. Screenshot of monitoring consoles/ dashboard for systems installed to monitor anomalies such as excessive heat in the aisles, water leakage, electricity fluctuations, battery leakage, etc. | Received |  |  | 1. - UPLOADED SCREENSHOTS
CA17 | DigiPlex has implemented and maintains environmental protection mechanisms, redundancy on power supply systems, fire suppression systems and cooling systems with automated alarm technologies in order to maintain constant uptime. | 1. List of devices installed for environmental protection 2. BMS system contract and maintenance schedule with vendor | Received |  | Informed during the meeting | 1. - Humidity control: Condair - WS Cooling: Munters - Leak Detection: N/A 2. - UPLOADED BMS CONTRACT ("BMS - Contract.pdf")
CA18 | DigiPlex operations team monitors and evaluates current processing capacity and use of system components on a continuous basis. Alerts are triggered when capacity thresholds are reached and mitigating actions are initiated. | 1. Screenshot of capacity management console/ dashboard/ monitoring system 2. Screenshot of the alerts configured to raise alarms in case of anomalies | Received |  | Point #2 is pending: - Screenshot of the alarms configured to raise alarms Atle: Should be ok now | 1. - UPLOADED SCREENSHOTS (Manual capacity management) 2. - UPLOADED SCREENSHOTS: No capacity alarms availeble (Manual capacity management) - UPLOADED SCREENSHOTS: "CA16 - Screenshot BMS - power" - UPLOADED SCREENSHOTS: "CA16 - Screenshot BMS - temperature"
CA19 | Appropriate fire detection & suppression systems are in implemented at DCs. Fire detection and suppression systems are covered under annual maintenance contract with respective vendors. | 1. Details about fire suppression system installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received |  | The file "CA19 - 2 - Fire Suppression Contract.pdf" won't open in teams. Atle: Should be ok now | 1. - OK 2. - UPLOADED FIRE SUPPRESION CONTRACT ("CA19 - 2 - Fire Suppression Contract.pdf")
CA20 | Fire detection and suppression systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received |  |  | 1. - UPLOADED SERVICE REPORT ("CA20 - Fire systems report 2019") - UPLOADED SERVICE REPORT ("CA20 - Water Mist 2018 - DP1") - UPLOADED SERVICE REPORT ("CA20 - Water Mist 2018 - DP2") - UPLOADED SERVICE REPORT ("CA20 - Hypoxic 2019")
CA21 | Appropriate HVAC controls are in place to maintain heat, ventilation and air conditioning in the DC. Temperature controls & monitoring is in place HVAC systems are covered under annual maintenance contract with respective vendors. | 1. Details about hvac system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received |  | Pleaser refer tab 'DFAS List of Equipment' for name of the equipment and their respective maintenance vendor | 1. - OK 2. - UPLOADED HVAC Contract ("CA21 - HVAC Contract")
CA22 | HVAC systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received |  | Pleaser refer tab 'DFAS List of Equipment' for name of the equipment and their respective maintenance vendor | 1. - UPLOADED FOLDER "CA22 - HVAC reports"
CA23 | Uninterrupted Power System (UPS) and DGs are installed at the primary and secondary DC facilities to provide uninterrupted power supply and ensure backup whenever there are any power interruptions. UPS and DGs is covered under annual maintenance contract with respective vendors. | 1. Details about UPS system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received |  | Pleaser refer tab 'DFAS List of Equipment' for name of the equipment and their respective maintenance vendor | 1. - OK 2. - UPLOADED UPS CONTRACT "CA23 - UPS" - UPLOADED UPS CONTRACT "CA23 - Generator"
CA24 | UPS and DGs are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received |  | Pleaser refer tab 'DFAS List of Equipment' for name of the equipment and their respective maintenance vendor | 1. - UPLOADED FOLDER "CA24 - UPS records 2019" - UPLOADED FOLDER "CA24 - Generator records 2019"
CA25 | Fire & Emergency Drills are conducted at the DC facilities on a periodic basis and as per the applicable regulations | 1. Mock drill calendar and schedule for the year 2019 2. Fire drill reports for the drills conducted in the year 2019 3. Fire drill procedure are documented and updated on an annual basis. Please share the fire drill procedure document. | Received |  |  | 1. N/A 2. UPLOADED DRILL REPORT "CA25 - Report_firedrill_13032019" 3. UPLOADED PLANNING DOCUMENT "CA25 - Planning and evaluation of Fire Drills (En)"
CA26 | Server rooms are constructed to protect server room equipment from environmental threats, e.g. overheating, power outage and excessive moisture: - Raised access floors and adequate leak detection systems - Different fire zones, the server rooms are their own fire zone | To be inspected on site | Received
CA27 | Closed Circuit Television (CCTV) systems are installed at strategic locations at the entry and exit points of the DC facilities to record all the events. The CCTV systems are continuously monitored by the Physical Security team. The CCTV equipment is maintained on a regular basis. | To be inspected on site 2. Maintenance reports and contract | Received |  |  | 1. - Inspected on site 2. UPLOADED CONTRACT "CA27 - CCTV Contract" UPLOADED SERVICE REPORT "CA27 - CCTV 2018"
CA28 | There are no windows or skylights in server rooms. All other openings (e.g. ventilation) are properly blocked or locked. | To be inspected on site | Received
CA29 | Camera surveillance is installed both externally and internally in order to secure all important parts of the data centres and in order to detect unauthorized access. | To be inspected on site | Received
CA30 | The data centres are equipped with access control and alarm systems in order to detect unauthorized access to the data center premises. | To be inspected on site | Received |  | Update the control to demonstrate that all stages of access have alarms configured.
CA31 | The access control and alarm systems are regularly maintained as per defined scheduled. | 1. Copy of the annual maintenance contract with vendor/ service provider 2. Preventive maintenance schedule and preventive maintenance reports for the year 2019 3. Test results for mock tests performed on the alarm system during the year 2019 | Received |  |  | 1. - UPLOADED CONTRACT "CA31 - Access Contract" 2. - UPLOADED SERVICE REPORT "CA31 - Access 2018"
CA32 | Digiplex has established and documented procedures for access creation and revocation to the DC facilities as per 'Policy name' | 1. Digiplex Access management policies | Received |  | Issued date Feb 2019
CA33 | Access to data centre facilities is revoked on the last working day of resigned/terminated employee. Customer access is revoked based on intimation from authorized customer personnel through ticket in Service Now. | 1. List of deactivated access from access control system during the year 2019 with the date and time of access deactivation Samples will be selected post receipt of population | Pending
CA34 | DigiPlex has processes in place to periodically review physical access to ensure consistency with job responsibilities. | 1. User access review process document/ SOP 2. Evidnece to demonstrate that user access review was performed as per periodicity for the year 2019 | Control is not in place |  | This control is not in place.
CA35 | List of authorized individuals who can access the data centre is maintained and reviewed by the management on a quarterly basis for updates, if any. | 1. List of authorized individuals who can access the data centre | Received |  | Dependent on CA33 Screenshot of how the list was extracted from the system will be needed.
CA36 | Two factor authentication mechanism established to access the data centre. E.g. swipe card and biometric or Proximity and biometric based access control systems | To be inspected on site | Received
CA37 | The DC facilities are manned by trained Security Guards round the clock, for restricting access to authorized individuals. | To be inspected on site | Received
CA38 | Entry and exit details of the vendors and visitors accessing the DC facilities are logged and documented. Access to visitors is granted only after obtaining appropriate approvals from designated personnel in the management | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data center for maintenance purposes (from the access control system) You can also provide a complete list of users from the access control system with their classification (vendor, customer, digiplex employee,etc. ) and we can select samples from it accordingly. 4. Visitor register for the year 2019 Samples for visitors and vendors to be selected after receipt of the population | Received |  | Screenshot of how the list was extracted from the system will be needed.
CA39 | Movements of materials within the DC is monitored and tracked, logged and only permitted with proper authorization | 1. SOP/ Procedure document describe the process of movement of materials 2. Goods Movement register for the year 2019 | Received
CA40 | Administrators revoke/remove physical access rights of terminated//resigned/released personnel, based on documented procedures. Operational Manager's procedures upon termination also include collecting key cards and request removal of access rights to the server rooms, based on information of terminated employees (e.g. from HR or subcontractor). | 1. List of administrators authorized to grant/ modify physical access rights. Please provide a list extracted from the access management system or provide a screenshot from the system 2. List of employees resigned/ terminated during the year 2019 | Pending |  | Dependent on CA33
CA42 | Privileged access to software which is used to maintain physical access rights to the server rooms is restricted to authorized persons. | 1. List of users having administrative access to access management systems at the data center | Pending
CA43 | Log of unsuccessful access attempts to the DC facilities are recorded and reviewed by DC manager for investigation. Corrective action are initiated for identified deviations, if any. | 1. Logs of failed access attempts for the last 3 months 2. Evidence demonstrating that these logs were reviewed by the DC manager | Received |  | Screenshot of how the list was extracted from the system is will be needed. Point #2 is pending
CA44 | Visitors and vendors (other than those holding approved access cards) are required to sign in when they arrive at the data centre. Visitors are given an ID badge, which is required for moving within the premises. All visitors must be escorted by an authorized person while on the premises. | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data center for maintenance purposes 4. Visitor register for the year 2019 Samples for visitors and vendors to be selected after receipt of the population | Received |  | Same as CA38
CA45 | If mechanical locks are used to access server rooms, an alarm is triggered. | To be inspected on site | Received |  | Control to be updated to demonstrate Key Watcher mechanism at the site
CA46 | There are formal processes for managing and controlling access to mechanical keys including: - Mechanical keys are kept in a hidden and physical secured lockbox at each location (separate systems) - Access to mechanical keys are restricted to a limited number of authorized personnel. Access to specific keys i granted based on needs - Code and fingerprint are required to gain access to lockbox | To be inspected on site | Received
New Control - 1 | Access to data centre facilities is granted to Digiplex employees based on approvals as per the 'access management procedures'. Access to customers is granted based on approvals from authorized customer personnel through tickets documented in Service Now. Access to maintenance vendors/ suppliers is granted based on approvals from site manager | 1. List of authorized individuals who can access the data centre from the access control system with classification (employee, customer, vendor, etc.) 2. Samples to be selected after receipt of the entire list of users mentioned in point #1 | Partially Received

## DFAS List of Equipment
List of Equipment
Fetsund - DFAS (Dag)
|  |  |  | Annual maintenance contract |  | Maintenance Details
CA# | Equipment | Type | Serviced by | Valid from | Valid till | Frequency | Maintenance report | Deloitte Comments
CA23 & CA24 | UPS | ABB | ABB | 2015-06-15 | 2020-06-15 | Annualy
CA23 & CA24 | DG | Caterpillar | PON Power | 10.04.2019 23.02.2015 | 10.04.2022 | Bi-Annualy
CA21 & CA22 | Chiller (HVAC) | Munters units | Ateam / GK | 2019-04-11 | 2022-04-11 | Annualy
CA27 | CCTV | Milestone | Stanley
CA19 & CA20 | Fire Detection (Alarm) | FireWin | Honeywell | 2019-04-11 | 2022-04-11 | Annualy
CA19 & CA20 | Fire Suppression | Novec | Honeywell | 2019-04-11 | 2022-04-11 | Annualy
CA19 & CA20 | Hypoxic | Hypoxic | Hypoxic
CA31 | Access Control | Stanley Security Manager | Stanley
CA19 & CA20 | Fire Extinguishers | - | Aktiv Brannvern AS | 2016-10-15 |  |  |  | Margrethe to confirm the other details from the contract
CA17 | BMS (Monitoring System) | Niagara | GK Byggautomasjon | 2019-04-11 | 2019-04-11

## DRAS
Control Activity # | Recommended Control Activity | Requirements | Status | Responsible | Deloitte Comments | Digiplex Comments
CA16 | DigiPlex has implemented detection measures to identify anomalies that could result from failure of environmental control systems, failure of electrical/power supply, fire, and water damage. | 1. Screenshot of monitoring consoles/ dashboard for systems installed to monitor anomalies such as excessive heat in the aisles, water leakage, electricity fluctuations, battery leakage, etc. | Received |  | Observed on site
CA17 | DigiPlex has implemented and maintains environmental protection mechanisms, redundancy on power supply systems, fire suppression systems and cooling systems with automated alarm technologies in order to maintain constant uptime. | 1. List of devices installed for environmental protection 2. BMS system contract and maintenance schedule with vendor | Received |  | Informed during the meeting
CA18 | DigiPlex operations team monitors and evaluates current processing capacity and use of system components on a continuous basis. Alerts are triggered when capacity thresholds are reached and mitigating actions are initiated. | 1. Screenshot of capacity management console/ dashboard/ monitoring system 2. Screenshot of the alerts configured to raise alarms in case of anomalies | Partially Received | SM Update 10/01/2020 BMS screenshot upload see CA18 | Point #2 is pending : 2: screenshot of the alerts configured to raise alarms
CA19 | Appropriate fire detection & suppression systems are in implemented at DCs. Fire detection and suppression systems are covered under annual maintenance contract with respective vendors. | 1. Details about fire suppression system installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received
CA20 | Fire detection and suppression systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received |  | Pleaser refer tab 'DRAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA21 | Appropriate HVAC controls are in place to maintain heat, ventilation and air conditioning in the DC. Temperature controls & monitoring is in place HVAC systems are covered under annual maintenance contract with respective vendors. | 1. Details about hvac system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received |  | Pleaser refer tab 'DRAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA22 | HVAC systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received |  | 27/11/2019 Preventive maintenance reports with Schneider electric are from 2018. Do you have it for 2019?
CA23 | Uninterrupted Power System (UPS) and DGs are installed at the primary and secondary DC facilities to provide uninterrupted power supply and ensure backup whenever there are any power interruptions. UPS and DGs is covered under annual maintenance contract with respective vendors. | 1. Details about UPS system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Partially Received | See uploaded CA23 & 24 upadted 20/12/2019 | 27/11/2019 Do you have maintenance reports from 2019 from Schneider? The preventive reports are from 2018
CA24 | UPS and DGs are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received |  | Pleaser refer tab 'DRAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA25 | Fire & Emergency Drills are conducted at the DC facilities on a periodic basis and as per the applicable regulations | 1. Mock drill calendar and schedule for the year 2019 2. Fire drill reports for the drills conducted in the year 2019 3. Fire drill procedure are documented and updated on an annual basis. Please share the fire drill procedure document. | Received
CA26 | Server rooms are constructed to protect server room equipment from environmental threats, e.g. overheating, power outage and excessive moisture: - Raised access floors and adequate leak detection systems - Different fire zones, the server rooms are their own fire zone | To be inspected on site | Received
CA27 | Closed Circuit Television (CCTV) systems are installed at strategic locations at the entry and exit points of the DC facilities to record all the events. The CCTV systems are continuously monitored by the Physical Security team. The CCTV equipment is maintained on a regular basis. | To be inspected on site 2. Maintenance reports and contract | Received
CA28 | There are no windows or skylights in server rooms. All other openings (e.g. ventilation) are properly blocked or locked. | To be inspected on site | Received
CA29 | Camera surveillance is installed both externally and internally in order to secure all important parts of the data centres and in order to detect unauthorized access. | To be inspected on site | Received
CA30 | The data centres are equipped with access control and alarm systems in order to detect unauthorized access to the data center premises. | To be inspected on site | Received |  | Update the control to demonstrate that all stages of access have alarms configured.
CA31 | The access control and alarm systems are regularly maintained as per defined scheduled. | 1. Copy of the annual maintenance contract with vendor/ service provider 2. Preventive maintenance schedule and preventive maintenance reports for the year 2019 3. Test results for mock tests performed on the alarm system during the year 2019 | Received
CA32 | Digiplex has established and documented procedures for access creation and revocation to the DC facilities as per 'Policy name' | 1. Digiplex Access management policies | Received |  | Review period for policies is 2 years. Same for DRAS and DNAS - Issued date March 2017
CA33 | Access to data centre facilities is revoked on the last working day of resigned/terminated employee. Customer access is revoked based on intimation from authorized customer personnel through ticket in Service Now. | 1. List of deactivated access from access control system during the year 2019 with the date and time of access deactivation Samples will be selected post receipt of population | Received | No employees left DRAS in 2019 update SM 17122019
CA34 | DigiPlex has processes in place to periodically review physical access to ensure consistency with job responsibilities. | 1. User access review process document/ SOP 2. Evidnece to demonstrate that user access review was performed as per periodicity for the year 2019 | Control is not in place |  | This control is not in place.
CA35 | List of authorized individuals who can access the data centre is maintained and reviewed by the management on a quarterly basis for updates, if any. |  | Received |  | Dependent on CA33
CA36 | Two factor authentication mechanism established to access the data centre. E.g. swipe card and biometric or Proximity and biometric based access control systems | To be inspected on site | Received
CA37 | The DC facilities are manned by trained Security Guards round the clock, for restricting access to authorized individuals. | To be inspected on site | Received |  | Control needs to be updated for Rosenholm
CA38 | Entry and exit details of the vendors and visitors accessing the DC facilities are logged and documented. Access to visitors is granted only after obtaining appropriate approvals from designated personnel in the management | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data center for maintenance purposes (from the access control system) You can also provide a complete list of users from the access control system with their classification (vendor, customer, digiplex employee,etc. ) and we can select samples from it accordingly. 4. Visitor register for the year 2019 Samples for visitors and vendors to be selected after receipt of the population | Partially Received | #3 See CA44 Vistors log uploaded 20/12/2019 SM | Point #3 is pending: 3: List of authorized vendor users
CA39 | Movements of materials within the DC is monitored and tracked, logged and only permitted with proper authorization | 1. SOP/ Procedure document describe the process of movement of materials 2. Goods Movement register for the year 2019 | Received | See CA44 extract from year SM update 17122019
CA40 | Administrators revoke/remove physical access rights of terminated//resigned/released personnel, based on documented procedures. Operational Manager's procedures upon termination also include collecting key cards and request removal of access rights to the server rooms, based on information of terminated employees (e.g. from HR or subcontractor). |  | Partially Received | #2 No Employees resigned /termonated on this site in 2019 | Point #1 is pending: 1: List of administrators authorized to grant/modify physical access rights.
CA42 | Privileged access to software which is used to maintain physical access rights to the server rooms is restricted to authorized persons. | 1. List of users having administrative access to access management systems at the data center | Pending | Same As DNAS -SM update 17/12/2019
CA43 | Log of unsuccessful access attempts to the DC facilities are recorded and reviewed by DC manager for investigation. Corrective action are initiated for identified deviations, if any. | 1. Logs of failed access attempts for the last 3 months 2. Evidence demonstrating that these logs were reviewed by the DC manager | Received
CA44 | Visitors and vendors (other than those holding approved access cards) are required to sign in when they arrive at the data centre. Visitors are given an ID badge, which is required for moving within the premises. All visitors must be escorted by an authorized person while on the premises. | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data center for maintenance purposes 4. Visitor register for the year 2019 Samples for visitors and vendors to be selected after receipt of the population | Received
CA45 | If mechanical locks are used to access server rooms, an alarm is triggered. | To be inspected on site | Received |  | Control to be updated to demonstrate Key Watcher mechanism at the site
CA46 | There are formal processes for managing and controlling access to mechanical keys including: - Mechanical keys are kept in a hidden and physical secured lockbox at each location (separate systems) - Access to mechanical keys are restricted to a limited number of authorized personnel. Access to specific keys i granted based on needs - Code and fingerprint are required to gain access to lockbox | To be inspected on site | Received |  | Control to be updated for DS1
New Control - 1 | Access to data centre facilities is granted to Digiplex employees based on approvals as per the 'access management procedures'. Access to customers is granted based on approvals from authorized customer personnel through tickets documented in Service Now. Access to maintenance vendors/ suppliers is granted based on approvals from site manager | 1. List of authorized individuals who can access the data centre from the access control system with classification (employee, customer, vendor, etc.) 2. Samples to be selected after receipt of the entire list of users mentioned in point #1 | Pending

## DRAS List of Equipment
List of equipment
Rosenholm - DRAS
|  |  |  | Annual maintenance contract |  | Maintenance Details
CA# | Equipment | Type | Serviced by | Valid from | Valid till | Frequency | Maintenance report | Deloitte Comments
CA23 & CA24 | UPS1 | Schneider | Schneider | 20.04.2018 | Renewed till termination. | Annual
CA23 & CA24 | DG | Caterpillar | PonCat |  |  | Three times a year |  | Received
CA21 & CA22 | Chiller (HVAC) | BAC Dry Coolers | Self maintained |  |  | Annual
CA21 & CA22 | Chiller CCU | Stulz | Self maintained |  |  | Semi Annually
CA27 | CCTV | Milestone | Stanley |  |  | Annual
CA19 & CA20 | Fire Detection (Alarm) | Honeywell | Honeywell |  |  | Quarterly
CA19 & CA20 | Fire Suppression | Inergen & Novec | Inergen & Novec |  |  | Annual
CA31 | Access Control | Stanley Security Manager | Stanley |  |  | Annual
CA19 & CA20 | Fire Extinguishers | - | Aktiv Brannvern AS |  |  | Annual
CA17 | BMS (Monitoring System) | Siemens | Blue Yonder |  |  | Semi Annually

## DS1
Control Activity # | Recommended Control Activity | Requirements | Status | Responsible | Deloitte Comments | Digiplex Comments
CA16 | DigiPlex has implemented detection measures to identify anomalies that could result from failure of environmental control systems, failure of electrical/power supply, fire, and water damage. | 1. Screenshot of monitoring consoles/ dashboard for systems installed to monitor anomalies such as excessive heat in the aisles, water leakage, electricity fluctuations, battery leakage, etc. | Received
CA17 | DigiPlex has implemented and maintains environmental protection mechanisms, redundancy on power supply systems, fire suppression systems and cooling systems with automated alarm technologies in order to maintain constant uptime. | 1. List of devices installed for environmental protection 2. BMS system contract and maintenance schedule with vendor | Received
CA18 | DigiPlex operations team monitors and evaluates current processing capacity and use of system components on a continuous basis. Alerts are triggered when capacity thresholds are reached and mitigating actions are initiated. | 1. Screenshot of capacity management console/ dashboard/ monitoring system 2. Screenshot of the alerts configured to raise alarms in case of anomalies | Received
CA19 | Appropriate fire detection & suppression systems are in implemented at DCs. Fire detection and suppression systems are covered under annual maintenance contract with respective vendors. | 1. Details about fire suppression system installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received |  | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor | See CA19 & CA 20
CA20 | Fire detection and suppression systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received |  | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor | See CA19 & CA 20
CA21 | Appropriate HVAC controls are in place to maintain heat, ventilation and air conditioning in the DC. Temperature controls & monitoring is in place HVAC systems are covered under annual maintenance contract with respective vendors. | 1. Details about hvac system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received |  | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor | See C21 & CA 22
CA22 | HVAC systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received |  | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor | See C21 & CA 22
CA23 | Uninterrupted Power System (UPS) and DGs are installed at the primary and secondary DC facilities to provide uninterrupted power supply and ensure backup whenever there are any power interruptions. UPS and DGs is covered under annual maintenance contract with respective vendors. | 1. Details about UPS system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Received |  | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor | See CA23 & CA24
CA24 | UPS and DGs are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2019 | Received |  | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor | See CA23 & CA24
CA25 | Fire & Emergency Drills are conducted at the DC facilities on a periodic basis and as per the applicable regulations | 1. Mock drill calendar and schedule for the year 2019 2. Fire drill reports for the drills conducted in the year 2019 3. Fire drill procedure are documented and updated on an annual basis. Please share the fire drill procedure document. | Received |  |  | See CA25
CA26 | Server rooms are constructed to protect server room equipment from environmental threats, e.g. overheating, power outage and excessive moisture: - Raised access floors and adequate leak detection systems - Different fire zones, the server rooms are their own fire zone | To be inspected on site | Received
CA27 | Closed Circuit Television (CCTV) systems are installed at strategic locations at the entry and exit points of the DC facilities to record all the events. The CCTV systems are continuously monitored by the Physical Security team. The CCTV equipment is maintained on a regular basis. | To be inspected on site 2. Maintenance reports and contract | Received |  |  | See CA 27
CA28 | There are no windows or skylights in server rooms. All other openings (e.g. ventilation) are properly blocked or locked. | To be inspected on site | Received
CA29 | Camera surveillance is installed both externally and internally in order to secure all important parts of the data centres and in order to detect unauthorized access. | To be inspected on site | Received
CA30 | The data centres are equipped with access control and alarm systems in order to detect unauthorized access to the data center premises. | To be inspected on site | Received |  | Update the control to demonstrate that all stages of access have alarms configured.
CA31 | The access control and alarm systems are regularly maintained as per defined scheduled. | 1. Copy of the annual maintenance contract with vendor/ service provider 2. Preventive maintenance schedule and preventive maintenance reports for the year 2019 3. Test results for mock tests performed on the alarm system during the year 2019 | Received |  | 20/11/2019 Point #2 and #3 are pending | SeeCA31
CA32 | Digiplex has established and documented procedures for access creation and revocation to the DC facilities as per 'Policy name' | 1. Digiplex Access management policies | Received |  |  | See CA 44. Facility Manual Customer Facing on rules . Facility Secuirty Manual Digiplex Internal
CA33 | Access to data centre facilities is revoked on the last working day of resigned/terminated employee. Customer access is revoked based on intimation from authorized customer personnel through ticket in Service Now. | 1. List of deactivated access from access control system during the year 2019 with the date and time of access deactivation Samples will be selected post receipt of population | Received
CA34 | DigiPlex has processes in place to periodically review physical access to ensure consistency with job responsibilities. | 1. User access review process document/ SOP 2. Evidnece to demonstrate that user access review was performed as per periodicity for the year 2019 | Control is not in place |  | This control is not in place. | See CA 44. Facility Manual Customer Facing on rules . Facility Secuirty Manual Digiplex Internal
CA35 | List of authorized individuals who can access the data centre is maintained and reviewed by the management on a quarterly basis for updates, if any. | 1. List of authorized individuals who can access the data centre | Pending |  | Dependent on CA33
CA36 | Two factor authentication mechanism established to access the data centre. E.g. swipe card and biometric or Proximity and biometric based access control systems | To be inspected on site | Received
CA37 | The DC facilities are manned by trained Security Guards round the clock, for restricting access to authorized individuals. | To be inspected on site | Received
CA38 | Entry and exit details of the vendors and visitors accessing the DC facilities are logged and documented. Access to visitors is granted only after obtaining appropriate approvals from designated personnel in the management | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data center for maintenance purposes (from the access control system) You can also provide a complete list of users from the access control system with their classification (vendor, customer, digiplex employee,etc. ) and we can select samples from it accordingly. 4. Visitor register for the year 2019 Samples for visitors and vendors to be selected after receipt of the population | Partially Received |  | Point #3 is pending: List of authorized vendors who can access the data center. | See CA 44. Facility Manual Customer Facing on rules . Facility Secuirty Manual Digiplex Internal & CA38 visitor logs
CA39 | Movements of materials within the DC is monitored and tracked, logged and only permitted with proper authorization | 1. SOP/ Procedure document describe the process of movement of materials 2. Goods Movement register for the year 2019 | Received |  |  | See CA 44. Facility Manual Customer Facing on rules . Facility Secuirty Manual Digiplex Internal & CA39
CA40 | Administrators revoke/remove physical access rights of terminated//resigned/released personnel, based on documented procedures. Operational Manager's procedures upon termination also include collecting key cards and request removal of access rights to the server rooms, based on information of terminated employees (e.g. from HR or subcontractor). | 1. List of administrators authorized to grant/ modify physical access rights. Please provide a list extracted from the access management system or provide a screenshot from the system 2. List of employees resigned/ terminated during the year 2019 | Received |  | Dependent on CA33
CA42 | Privileged access to software which is used to maintain physical access rights to the server rooms is restricted to authorized persons. | 1. List of users having administrative access to access management systems at the data center | Received
CA43 | Log of unsuccessful access attempts to the DC facilities are recorded and reviewed by DC manager for investigation. Corrective action are initiated for identified deviations, if any. | 1. Logs of failed access attempts for the last 3 months 2. Evidence demonstrating that these logs were reviewed by the DC manager | Received |  | 27/11/2019 Point #2 is pending, need to see how the logs were reviewed by DC manager | See CA43 Failed access attempts
CA44 | Visitors and vendors (other than those holding approved access cards) are required to sign in when they arrive at the data centre. Visitors are given an ID badge, which is required for moving within the premises. All visitors must be escorted by an authorized person while on the premises. | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data center for maintenance purposes 4. Visitor register for the year 2019 Samples for visitors and vendors to be selected after receipt of the population | Received |  | Same as CA38 | See CA 44. Facility Manual Customer Facing on rules . Facility Secuirty Manual Digiplex Internal
CA45 | If mechanical locks are used to access server rooms, an alarm is triggered. | To be inspected on site | Received |  | Control to be updated to demonstrate Key Watcher mechanism at the site
CA46 | There are formal processes for managing and controlling access to mechanical keys including: - Mechanical keys are kept in a hidden and physical secured lockbox at each location (separate systems) - Access to mechanical keys are restricted to a limited number of authorized personnel. Access to specific keys i granted based on needs - Code and fingerprint are required to gain access to lockbox | To be inspected on site | Received
New Control - 1 | Access to data centre facilities is granted to Digiplex employees based on approvals as per the 'access management procedures'. Access to customers is granted based on approvals from authorized customer personnel through tickets documented in Service Now. Access to maintenance vendors/ suppliers is granted based on approvals from site manager | 1. List of authorized individuals who can access the data centre from the access control system with classification (employee, customer, vendor, etc.) 2. Samples to be selected after receipt of the entire list of users mentioned in point #1 | Pending

## DS1 List of Equipment
List of Equipment
Stockholm - DS1
|  |  |  | Annual maintenance contract |  | Maintenance Details
CA# | Equipment | Type | Serviced by | Valid from | Valid till | Frequency | Maintenance report | Report Date | Deloitte Comments
CA23 & CA24 | UPS | ABB | ABB | 2016-12-16 | 2019-12-16 | Annual | Available in Teams
CA23 & CA24 | DG | Caterpillar | Pon Power AS | 2016-08-26 | 2021-08-26 | Bi-annual | Available in Teams
CA21 & CA22 | Chiller (HVAC) | Munters | Munters | 2019-01-01 |  | Annual | Available in Teams
CA27 | CCTV | Milestone | Stanley | 2016-12-01 |  | Annual | 2019 planned for Dec.
CA19 & CA20 | Fire Detection (Alarm) | Stanley | Stanley | 2016-01-01 |  | Bi-annual | Available in Teams
CA19 & CA20 | Fire Suppression | Argonite | Stanley | 2016-01-01 |  | Annual | Available in Teams
CA31 | Access Control | Stanley Security Manager | Stanley | 2015-12-15 |  | Annual | 2019 planned for Dec. | reports uploaded 2019
CA19 & CA20 | Fire Extinguishers | Cupola | Cupola | 2017-02-09 | 2020-02-09 | Annual | Available in Teams
CA17 | BMS (Monitoring System) | Tridium Niagara