## DFAS
DFAS Maintenance Calendar 2020
Maintenance Schedule | Due month | Due day of month | Lead time | Week | Comments
DFAS - Generator A1_1 Monthly Test - 1 | 1 | 13 | 1 | 3
DFAS - Generator A1_2 Monthly Test - 1 | 1 | 14 | 1 | 3
DFAS - Generator A1_3 Monthly Test - 1 | 1 | 15 | 1 | 3
DFAS - Generator A1_4 Monthly Test - 1 | 1 | 16 | 1 | 3
DFAS - Generator AM_7 Monthly Test - 1 | 1 | 16 | 1 | 3
DFAS - Generator A2_1 Monthly Test - 1 | 1 | 17 | 1 | 3
DFAS - Generator A2_2 Monthly Test - 1 | 1 | 20 | 1 | 4
DFAS - Generator A2_3 Monthly Test - 1 | 1 | 21 | 1 | 4
DFAS - Generator A2_5 Monthly Test - 1 | 1 | 22 | 1 | 4
DFAS - Generator A2_6 Monthly Test - 1 | 1 | 23 | 1 | 4
DFAS - Generator A2_4 Monthly Test - 1 | 1 | 24 | 1 | 4
DFAS - Pump Quarterly Inspection - Q1 | 1 | 31 | 30
DFAS - Hypoxic System Quarterly Maintenance - Q1 | 2 | 2 | 7 | 5
DFAS - Scissor Lift Annual Maintenance | 2 | 9 | 7 | 6
DFAS - Generator A1_1 Monthly Test - 2 | 2 | 11 | 1 | 7
DFAS - Generator A1_2 Monthly Test - 2 | 2 | 11 | 1 | 7
DFAS - Generator A1_3 Monthly Test - 2 | 2 | 11 | 1 | 7
DFAS - Generator A1_4 Monthly Test - 2 | 2 | 11 | 1 | 7
DFAS - Generator AM_7 Monthly Test - 2 | 2 | 11 | 1 | 7
DFAS - Generator A2_1 Monthly Test - 2 | 2 | 13 | 1 | 7
DFAS - Generator A2_2 Monthly Test - 2 | 2 | 13 | 1 | 7
DFAS - Generator A2_4 Monthly Test - 2 | 2 | 13 | 1 | 7
DFAS – CCU DX Annual Maintenance | 2 | 15 | 5 | 7
DFAS - Generator A2_3 Monthly Test - 2 | 2 | 18 | 1 | 8
DFAS - Generator A2_5 Monthly Test - 2 | 2 | 19 | 1 | 8
DFAS - Generator A2_6 Monthly Test - 2 | 2 | 20 | 1 | 8
DFAS – Battery String Quarterly Inspection - Q1 | 2 | 23 | 14 | 7+8
DFAS – CCU DX Leak Detection Quarterly Test - Q1 | 2 | 23 | 7 | 8
DFAS - Lift Quarterly Maintenance - Q1 | 2 | 28 | 7 | 9
DFAS - Tools, PPE and Ladders Annual Inspection | 2 | 28 | 7 | 9
DFAS – Auto Gate Annual Maintenance | 3 | 8 | 7 | 10
DFAS - Fuel Tank Quarterly Inspection - Q1 | 3 | 31 | 7 |  | Postponed to end of March
DFAS - Generator A1_1 Monthly Test - 3 | 3 | 10 | 1 | 11
DFAS - Generator A1_2 Monthly Test - 3 | 3 | 10 | 1 | 11
DFAS - Generator A1_3 Monthly Test - 3 | 3 | 10 | 1 | 11
DFAS - Generator A1_4 Monthly Test - 3 | 3 | 10 | 1 | 11
DFAS - Generator AM_7 Monthly Test - 3 | 3 | 10 | 1 | 11
DFAS - Generator A2_1 Monthly Test - 3 | 3 | 12 | 1 | 11
DFAS - Generator A2_2 Monthly Test - 3 | 3 | 12 | 1 | 11
DFAS - Generator A2_4 Monthly Test - 3 | 3 | 12 | 1 | 11
DFAS - Generator A2_3 Monthly Test - 3 | 3 | 17 | 1 | 12
DFAS - Generator A2_5 Monthly Test - 3 | 3 | 18 | 1 | 12
DFAS - Generator A2_6 Monthly Test - 3 | 3 | 19 | 1 | 12
DFAS - Mantrap Semiannual Maintenance - S1 | 3 | 29 | 7 | 13
DFAS - Water Supply Filters Annual Maintenace | 3 | 27 | 25 | 10+11+12+13
DFAS - Munters A1_1 Semiannual Maintenance (Minor) | 4 | 5 | 7 | 14
DFAS - Munters A1_2 Semiannual Maintenance (Minor) | 4 | 12 | 7 | 15
DFAS - Generator A1_1 Monthly Test - 4 | 4 | 15 | 1 | 16 | Re-scheduled one day later
DFAS - Generator A1_2 Monthly Test - 4 | 4 | 15 | 1 | 16 | Re-scheduled one day later
DFAS - Generator A1_3 Monthly Test - 4 | 4 | 15 | 1 | 16 | Re-scheduled one day later
DFAS - Generator A1_4 Monthly Test - 4 | 4 | 15 | 1 | 16 | Re-scheduled one day later
DFAS - Generator AM_7 Monthly Test - 4 | 4 | 15 | 1 | 16 | Re-scheduled one day later
DFAS - Generator A2_1 Monthly Test - 4 | 4 | 16 | 1 | 16
DFAS - Generator A2_2 Monthly Test - 4 | 4 | 16 | 1 | 16
DFAS - Generator A2_4 Monthly Test - 4 | 4 | 16 | 1 | 16
DFAS - Munters A1_3 Semiannual Maintenance (Minor) | 4 | 19 | 7 | 16
DFAS - Generator A2_3 Monthly Test - 4 | 4 | 21 | 1 | 17
DFAS - Generator A2_5 Monthly Test - 4 | 4 | 22 | 1 | 17
DFAS - Generator A2_6 Monthly Test - 4 | 4 | 23 | 1 | 17
DFAS - Hypoxic System Quarterly Maintenance - Q2 | 4 | 26 | 7 | 17
DFAS - Munters A2_1 Semiannual Maintenance (Minor) | 4 | 26 | 7 | 17
DFAS - Fire Doors and Exits Annual Inspection | 4 | 30 | 29
DFAS - Pump Quarterly Inspection - Q2 | 4 | 30 | 29
DFAS - BMS Semiannual Maintenance - S1 | 5 | 3 | 14 | 17+18 | Postponed due to Covid-19
DFAS - Munters A2_2 Semiannual Maintenance (Minor) | 5 | 3 | 7 | 18
DFAS - Generator A1_1 Monthly Test - 5 | 5 | 4 | 1 | 19
DFAS - Generator A1_1 Semiannual Maintenance (Minor) | 5 | 4 | 1 | 19
DFAS - Generator A1_2 Monthly Test - 5 | 5 | 5 | 1 | 19
DFAS - Generator A1_2 Semiannual Maintenance (Minor) | 5 | 5 | 1 | 19
DFAS - Generator A1_3 Monthly Test - 5 | 5 | 6 | 1 | 19
DFAS - Generator A1_3 Semiannual Maintenance (Minor) | 5 | 6 | 1 | 19
DFAS - Generator A1_4 Monthly Test - 5 | 5 | 7 | 1 | 19
DFAS - Generator A1_4 Semiannual Maintenance (Minor) | 5 | 7 | 1 | 19
DFAS - Generator AM_7 Monthly Test - 5 | 5 | 7 | 1 | 19
DFAS - Generator AM_7 Semiannual Maintenance (Minor) | 5 | 7 | 1 | 19
DFAS - Generator A2_1 Monthly Test - 5 | 5 | 8 | 1 | 19
DFAS - Generator A2_1 Semiannual Maintenance (Minor) | 5 | 8 | 1 | 19
DFAS - Munters A2_3 Semiannual Maintenance (Minor) | 5 | 10 | 7 | 20
DFAS - Generator A2_2 Monthly Test - 5 | 5 | 11 | 1 | 20
DFAS - Generator A2_2 Semiannual Maintenance (Minor) | 5 | 11 | 1 | 20
DFAS - Generator A2_3 Monthly Test - 5 | 5 | 12 | 1 | 20
DFAS - Generator A2_3 Semiannual Maintenance (Minor) | 5 | 12 | 1 | 20
DFAS - Generator A2_5 Monthly Test - 5 | 5 | 13 | 1 | 20
DFAS - Generator A2_5 Semiannual Maintenance (Minor) | 5 | 13 | 1 | 20
DFAS - Generator A2_6 Monthly Test - 5 | 5 | 14 | 1 | 20
DFAS - Generator A2_6 Semiannual Maintenance (Minor) | 5 | 14 | 1 | 20
DFAS - Generator A2_4 Monthly Test - 5 | 5 | 15 | 1 | 20
DFAS - Generator A2_4 Semiannual Maintenance (Minor) | 5 | 15 | 1 | 20
DFAS – Battery String Quarterly Inspection - Q2 | 5 | 17 | 14 | 19+20 |  | intern jobb
DFAS - Munters A3_3 Semiannual Maintenance (Minor) | 5 | 17 | 7 | 20
DFAS - UPS A1_2 Annual Maintenance | 5 | 22 | 12 | 20+21
DFAS – CCU DX Leak Detection Quarterly Test - Q2 | 5 | 24 | 7 | 21
DFAS - Lift Quarterly Maintenance - Q2 | 5 | 24 | 7 | 21
DFAS - Water Supply Annual Summer Enabling | 5 | 24 | 35 | 17/18/19/20/21
DFAS - Building Drain Annual Cleaning | 5 | 30 | 29
DFAS - External Facade Annual Cleaning | 5 | 31 | 7 | 22
DFAS - UPS A1_3 Annual Maintenance | 6 | 5 | 19 | 21+22+23
DFAS - Generator A1_1 Monthly Test - 6 | 6 | 9 | 1 | 24
DFAS - Generator A1_2 Monthly Test - 6 | 6 | 9 | 1 | 24
DFAS - Generator A1_3 Monthly Test - 6 | 6 | 9 | 1 | 24
DFAS - Generator A1_4 Monthly Test - 6 | 6 | 9 | 1 | 24
DFAS - Generator AM_7 Monthly Test - 6 | 6 | 9 | 1 | 24
DFAS - Generator A2_1 Monthly Test - 6 | 6 | 11 | 1 | 24
DFAS - Generator A2_2 Monthly Test - 6 | 6 | 11 | 1 | 24
DFAS - Generator A2_4 Monthly Test - 6 | 6 | 11 | 1 | 24
DFAS - Fuel Tank Quarterly Inspection - Q2 | 6 | 14 | 7 | 24
DFAS - Generator A2_3 Monthly Test - 6 | 6 | 16 | 1 | 25
DFAS - Generator A2_5 Monthly Test - 6 | 6 | 17 | 1 | 25
DFAS - Generator A2_6 Monthly Test - 6 | 6 | 18 | 1 | 25
DFAS - Generator A1_1 Monthly Test - 7 | 6 | 23 | 1 | 26
DFAS - Generator A1_2 Monthly Test - 7 | 6 | 23 | 1 | 26
DFAS - Generator A1_3 Monthly Test - 7 | 6 | 23 | 1 | 26
DFAS - Generator A1_4 Monthly Test - 7 | 6 | 23 | 1 | 26
DFAS - Generator AM_7 Monthly Test - 7 | 6 | 23 | 1 | 26
DFAS - Generator A2_1 Monthly Test - 7 | 6 | 25 | 1 | 26
DFAS - Generator A2_2 Monthly Test - 7 | 6 | 25 | 1 | 26
DFAS - Generator A2_4 Monthly Test - 7 | 6 | 25 | 1 | 26
DFAS - UPS A1_1 Annual Maintenance | 6 | 26 | 26 | 23+24+25+26
DFAS - Water Supply Annual Inspection | 7 | 19 | 7 | 29
DFAS - Generator A2_3 Monthly Test - 7 | 7 | 21 | 1 | 30
DFAS - Generator A2_5 Monthly Test - 7 | 7 | 22 | 1 | 30
DFAS - Generator A2_6 Monthly Test - 7 | 7 | 23 | 1 | 30
DFAS - Pump Quarterly Inspection - Q3 | 7 | 31 | 30
DFAS - Hypoxic System Quarterly Maintenance - Q3 | 8 | 16 | 7 | 33
DFAS - Generator A1_1 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator A1_2 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator A1_3 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator A1_4 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator A2_3 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator AM_7 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator A2_5 Monthly Test - 8 | 8 | 19 | 1 | 34
DFAS - Generator A2_1 Monthly Test - 8 | 8 | 20 | 1 | 34
DFAS - Generator A2_2 Monthly Test - 8 | 8 | 20 | 1 | 34
DFAS - Generator A2_4 Monthly Test - 8 | 8 | 20 | 1 | 34
DFAS - Generator A2_6 Monthly Test - 8 | 8 | 20 | 1 | 34
DFAS – CCU DX Leak Detection Quarterly Test - Q3 | 8 | 23 | 7 | 34
DFAS - Lift Quarterly Maintenance - Q3 | 8 | 30 | 7 | 35
DFAS – Battery String Quarterly Inspection - Q3 | 9 | 6 | 14
DFAS - UPS A2_1 Annual Maintenance | 9 | 6 | 21
DFAS - Generator A1_1 Monthly Test - 9 | 9 | 8 | 1
DFAS - Generator A1_2 Monthly Test - 9 | 9 | 8 | 1
DFAS - Generator A1_3 Monthly Test - 9 | 9 | 8 | 1
DFAS - Generator A1_4 Monthly Test - 9 | 9 | 8 | 1
DFAS - Generator AM_7 Monthly Test - 9 | 9 | 8 | 1
DFAS - Generator A2_1 Monthly Test - 9 | 9 | 10 | 1
DFAS - Generator A2_2 Monthly Test - 9 | 9 | 10 | 1
DFAS - Generator A2_4 Monthly Test - 9 | 9 | 10 | 1
DFAS - Fuel Tank Quarterly Inspection - Q3 | 9 | 13 | 7
DFAS - Generator A2_3 Monthly Test - 9 | 9 | 15 | 1
DFAS - Generator A2_5 Monthly Test - 9 | 9 | 16 | 1
DFAS - Generator A2_6 Monthly Test - 9 | 9 | 17 | 1
DFAS - AHU Annual Maintenance | 9 | 20 | 28 | 35+36+37+38
DFAS – Axial Fan Annual Maintenance | 9 | 20 | 28 | 35+36+37+38
DFAS – DX Unit Annual Maintenance | 9 | 20 | 28 | 35+36+37+38
DFAS - Fire Alarm Annual Maintenance | 9 | 20 | 14 | 37+38
DFAS - Munters A1_1 Semiannual Maintenance (Major) | 9 | 20 | 7
DFAS - Power Supply Unit Annual Maintenance | 9 | 20 | 14
DFAS - UPS A2_2 Annual Maintenance | 9 | 20 | 14
DFAS - Mantrap Semiannual Maintenance - S2 | 9 | 27 | 7
DFAS - Munters A1_2 Semiannual Maintenance (Major) | 9 | 27 | 7
DFAS - Shutter Annual Maintenance | 9 | 27 | 7
DFAS - External Lighting Annual Inspection | 9 | 30 | 29
DFAS - Humidifier Annual Maintenance | 9 | 30 | 45
DFAS - Compressor Annual Maintenance | 10 | 4 | 7
DFAS - Munters A1_3 Semiannual Maintenance (Major) | 10 | 4 | 7
DFAS - Generator A1_1 Monthly Test - 10 | 10 | 5 | 1
DFAS - Generator A1_1 Semiannual Maintenance (Major) | 10 | 5 | 1
DFAS - Generator A1_2 Monthly Test - 10 | 10 | 6 | 1
DFAS - Generator A1_2 Semiannual Maintenance (Major) | 10 | 6 | 1
DFAS - Generator A1_3 Monthly Test - 10 | 10 | 7 | 1
DFAS - Generator A1_3 Semiannual Maintenance (Major) | 10 | 7 | 1
DFAS - Generator A1_4 Monthly Test - 10 | 10 | 8 | 1
DFAS - Generator A1_4 Semiannual Maintenance (Major) | 10 | 8 | 1
DFAS - Generator AM_7 Monthly Test - 10 | 10 | 8 | 1
DFAS - Generator AM_7 Semiannual Maintenance (Major) | 10 | 8 | 1
DFAS - Generator A2_1 Monthly Test - 10 | 10 | 9 | 1
DFAS - Generator A2_1 Semiannual Maintenance (Major) | 10 | 9 | 1
DFAS - Munters A2_1 Semiannual Maintenance (Major) | 10 | 11 | 7
DFAS - Generator A2_2 Monthly Test - 10 | 10 | 12 | 1
DFAS - Generator A2_2 Semiannual Maintenance (Major) | 10 | 12 | 1
DFAS - Generator A2_3 Monthly Test - 10 | 10 | 13 | 1
DFAS - Generator A2_3 Semiannual Maintenance (Major) | 10 | 13 | 1
DFAS - Generator A2_5 Monthly Test - 10 | 10 | 14 | 1
DFAS - Generator A2_5 Semiannual Maintenance (Major) | 10 | 14 | 1
DFAS - Generator A2_6 Monthly Test - 10 | 10 | 15 | 1
DFAS - Generator A2_6 Semiannual Maintenance (Major) | 10 | 15 | 1
DFAS - Generator A2_4 Monthly Test - 10 | 10 | 16 | 1
DFAS - Generator A2_4 Semiannual Maintenance (Major) | 10 | 16 | 1
DFAS - Electric Water Heater Annual Maintenance | 10 | 18 | 7
DFAS - Munters A2_2 Semiannual Maintenance (Major) | 10 | 18 | 7
DFAS - Munters A2_3 Semiannual Maintenance (Major) | 10 | 25 | 7
DFAS - Electric Panel Heater Annual Maintenance | 10 | 31 | 30
DFAS - Electrical Distribution Annual TEGG Inspection | 10 | 31 | 13
DFAS - Pump Quarterly Inspection - Q4 | 10 | 31 | 30
DFAS - VFD Annual Maintenance | 10 | 31 | 30
DFAS - Water Supply Annual Winter Shutdown | 10 | 31 | 30
DFAS - Hypoxic System Quarterly Maintenance - Q4 | 11 | 1 | 7
DFAS - Munters A3_3 Semiannual Maintenance (Major) | 11 | 1 | 7
DFAS - UPS A2_3 Annual Maintenance | 11 | 1 | 14
DFAS - BMS Semiannual Maintenance - S2 | 11 | 8 | 14
DFAS - Fire Suppression System Annual Maintenance | 11 | 8 | 7
DFAS - UPS A3_1 Annual Maintenance | 11 | 8 | 7
DFAS - Generator A1_1 Monthly Test - 11 | 11 | 10 | 1
DFAS - Generator A1_2 Monthly Test - 11 | 11 | 10 | 1
DFAS - Generator A1_3 Monthly Test - 11 | 11 | 10 | 1
DFAS - Generator A1_4 Monthly Test - 11 | 11 | 10 | 1
DFAS - Generator AM_7 Monthly Test - 11 | 11 | 10 | 1
DFAS - Generator A2_1 Monthly Test - 11 | 11 | 12 | 1
DFAS - Generator A2_2 Monthly Test - 11 | 11 | 12 | 1
DFAS - Generator A2_4 Monthly Test - 11 | 11 | 12 | 1
DFAS – Battery String Quarterly Inspection - Q4 | 11 | 15 | 14
DFAS - Generator A2_3 Monthly Test - 11 | 11 | 17 | 1
DFAS - Generator A2_5 Monthly Test - 11 | 11 | 18 | 1
DFAS - Generator A2_6 Monthly Test - 11 | 11 | 19 | 1
DFAS – CCU DX Leak Detection Quarterly Test - Q4 | 11 | 22 | 7
DFAS - Fire Extinguishing Equipment Annual Maintenance | 11 | 29 | 7
DFAS - Lift Quarterly Maintenance - Q4 | 11 | 29 | 7
DFAS - Access Control and CCTV Annual Maintenance | 11 | 30 | 29
DFAS - Intruder Alarm Annual Maintenance | 11 | 30 | 29
DFAS - Fuel Tank Quarterly Inspection - Q4 | 12 | 6 | 7
DFAS - Emergency Lighting Annual Maintenance | 12 | 13 | 14
DFAS - Water Mist System Annual Maintenance | 12 | 13 | 7
DFAS - Generator A2_3 Monthly Test - 12 | 12 | 15 | 1
DFAS - Generator A2_5 Monthly Test - 12 | 12 | 16 | 1
DFAS - Generator A2_6 Monthly Test - 12 | 12 | 17 | 1
DFAS - Pressure Vessel Annual Inspection | 12 | 31 | 30
DFAS - Access Road and Car Park Monthly Inspection |  | 28 | 27
DFAS - AHU Monthly Inspection |  | 28 | 27
DFAS – Auto Gate Monthly Inspection |  | 28 | 27
DFAS - Perimeter Fence Monthly Inspection |  | 28 | 27
DFAS - Shower and WC Monthly Inspection |  | 28 | 27
DFAS - Site Monthly Inspection |  | 28 | 27
DFAS - Building and Grounds Weekly Inspection |  |  | 7
DFAS - Munters Corridor Weekly Inspection/Cleaning |  |  | 7
DFAS - Plant Room Weekly Housekeeping |  |  | 2
DFAS - Site Technical Daily Inspection - 1.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 1.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 2.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 2.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 3.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 3.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 4.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 4.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 5.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 5.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 6.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 6.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 7.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 7.2 |  |  | 1

## MSFT
DFAS Maintenance Calendar 2020 - MSFT
Maintenance Schedule | Due month | Due day of month | Lead time | Week | Comments
DFAS - Generator A1_1 Monthly Test - 1 | 1 | 13 | 1
DFAS - Generator A1_4 Monthly Test - 1 | 1 | 16 | 1
DFAS - Generator AM_7 Monthly Test - 1 | 1 | 16 | 1
DFAS - Generator A2_1 Monthly Test - 1 | 1 | 17 | 1
DFAS - Generator A2_3 Monthly Test - 1 | 1 | 21 | 1
DFAS - Generator A2_5 Monthly Test - 1 | 1 | 22 | 1
DFAS - Generator A2_6 Monthly Test - 1 | 1 | 23 | 1
DFAS - Generator A2_4 Monthly Test - 1 | 1 | 24 | 1
DFAS - Pump Quarterly Inspection - Q1 | 1 | 31 | 30
DFAS - Scissor Lift Annual Maintenance | 2 | 9 | 7
DFAS - Generator A1_1 Monthly Test - 2 | 2 | 11 | 1
DFAS - Generator A1_4 Monthly Test - 2 | 2 | 11 | 1
DFAS - Generator AM_7 Monthly Test - 2 | 2 | 11 | 1
DFAS - Generator A2_1 Monthly Test - 2 | 2 | 13 | 1
DFAS - Generator A2_4 Monthly Test - 2 | 2 | 13 | 1
DFAS – CCU DX Annual Maintenance | 2 | 15 | 5 | 7
DFAS - Generator A2_3 Monthly Test - 2 | 2 | 18 | 1
DFAS - Generator A2_5 Monthly Test - 2 | 2 | 19 | 1
DFAS - Generator A2_6 Monthly Test - 2 | 2 | 20 | 1
DFAS – Battery String Quarterly Inspection - Q1 | 2 | 23 | 14
DFAS – CCU DX Leak Detection Quarterly Test - Q1 | 2 | 23 | 7 | 8
DFAS - Lift Quarterly Maintenance - Q1 | 2 | 28 | 7
DFAS - Tools, PPE and Ladders Annual Inspection | 2 | 28 | 7 | 9
DFAS – Auto Gate Annual Maintenance | 3 | 8 | 7
DFAS - Fuel Tank Quarterly Inspection - Q1 | 3 | 31 | 7 |  | Postponed to end of March
DFAS - Generator A1_1 Monthly Test - 3 | 3 | 10 | 1
DFAS - Generator A1_4 Monthly Test - 3 | 3 | 10 | 1
DFAS - Generator AM_7 Monthly Test - 3 | 3 | 10 | 1
DFAS - Generator A2_1 Monthly Test - 3 | 3 | 12 | 1
DFAS - Generator A2_4 Monthly Test - 3 | 3 | 12 | 1
DFAS - Generator A2_3 Monthly Test - 3 | 3 | 17 | 1
DFAS - Generator A2_5 Monthly Test - 3 | 3 | 18 | 1
DFAS - Generator A2_6 Monthly Test - 3 | 3 | 19 | 1
DFAS - Mantrap Semiannual Maintenance - S1 | 3 | 29 | 7
DFAS - Water Supply Filters Annual Maintenace | 3 | 27 | 25 | 10+11+12+13
DFAS - Generator A1_1 Monthly Test - 4 | 4 | 14 | 1
DFAS - Generator A1_4 Monthly Test - 4 | 4 | 14 | 1
DFAS - Generator AM_7 Monthly Test - 4 | 4 | 14 | 1
DFAS - Generator A2_1 Monthly Test - 4 | 4 | 16 | 1
DFAS - Generator A2_4 Monthly Test - 4 | 4 | 16 | 1
DFAS - Generator A2_3 Monthly Test - 4 | 4 | 21 | 1
DFAS - Generator A2_5 Monthly Test - 4 | 4 | 22 | 1
DFAS - Generator A2_6 Monthly Test - 4 | 4 | 23 | 1
DFAS - Hypoxic System Quarterly Maintenance - Q2 | 4 | 26 | 7 |  | TBD
DFAS - Fire Doors and Exits Annual Inspection | 4 | 30 | 29
DFAS - Pump Quarterly Inspection - Q2 | 4 | 30 | 29
DFAS - BMS Semiannual Maintenance - S1 | 5 | 3 | 14
DFAS - Generator A1_1 Monthly Test - 5 | 5 | 4 | 1
DFAS - Generator A1_1 Semiannual Maintenance (Minor) | 5 | 4 | 1
DFAS - Generator A1_4 Monthly Test - 5 | 5 | 7 | 1
DFAS - Generator A1_4 Semiannual Maintenance (Minor) | 5 | 7 | 1
DFAS - Generator AM_7 Monthly Test - 5 | 5 | 7 | 1
DFAS - Generator AM_7 Semiannual Maintenance (Minor) | 5 | 7 | 1
DFAS - Generator A2_1 Monthly Test - 5 | 5 | 8 | 1
DFAS - Generator A2_1 Semiannual Maintenance (Minor) | 5 | 8 | 1
DFAS - Munters A2_3 Semiannual Maintenance (Minor) | 5 | 10 | 7
DFAS - Generator A2_3 Monthly Test - 5 | 5 | 12 | 1
DFAS - Generator A2_3 Semiannual Maintenance (Minor) | 5 | 12 | 1
DFAS - Generator A2_5 Monthly Test - 5 | 5 | 13 | 1
DFAS - Generator A2_5 Semiannual Maintenance (Minor) | 5 | 13 | 1
DFAS - Generator A2_6 Monthly Test - 5 | 5 | 14 | 1
DFAS - Generator A2_6 Semiannual Maintenance (Minor) | 5 | 14 | 1
DFAS - Generator A2_4 Monthly Test - 5 | 5 | 15 | 1
DFAS - Generator A2_4 Semiannual Maintenance (Minor) | 5 | 15 | 1
DFAS – Battery String Quarterly Inspection - Q2 | 5 | 17 | 14
DFAS - Munters A3_3 Semiannual Maintenance (Minor) | 5 | 17 | 7
DFAS - Lift Quarterly Maintenance - Q2 | 5 | 24 | 7
DFAS - Water Supply Annual Summer Enabling | 5 | 24 | 35 | 17/18/19/20/21
DFAS – CCU DX Leak Detection Quarterly Test - Q2 | 5 | 24 | 7 | 21
DFAS - Building Drain Annual Cleaning | 5 | 30 | 29
DFAS - External Facade Annual Cleaning | 5 | 31 | 7
DFAS - Generator A1_1 Monthly Test - 6 | 6 | 9 | 1
DFAS - Generator A1_4 Monthly Test - 6 | 6 | 9 | 1
DFAS - Generator AM_7 Monthly Test - 6 | 6 | 9 | 1
DFAS - Generator A2_1 Monthly Test - 6 | 6 | 11 | 1
DFAS - Generator A2_4 Monthly Test - 6 | 6 | 11 | 1
DFAS - Fuel Tank Quarterly Inspection - Q2 | 6 | 14 | 7
DFAS - Generator A2_3 Monthly Test - 6 | 6 | 16 | 1
DFAS - Generator A2_5 Monthly Test - 6 | 6 | 17 | 1
DFAS - Generator A2_6 Monthly Test - 6 | 6 | 18 | 1
DFAS - Generator A1_1 Monthly Test - 7 | 6 | 23 | 1
DFAS - Generator A1_4 Monthly Test - 7 | 6 | 23 | 1
DFAS - Generator AM_7 Monthly Test - 7 | 6 | 23 | 1
DFAS - Generator A2_1 Monthly Test - 7 | 6 | 25 | 1
DFAS - Generator A2_4 Monthly Test - 7 | 6 | 25 | 1
DFAS - UPS A1_1 Annual Maintenance | 6 | 26 | 26 | 23+24+25+26
DFAS - Water Supply Annual Inspection | 7 | 19 | 7
DFAS - Generator A2_3 Monthly Test - 7 | 7 | 21 | 1
DFAS - Generator A2_5 Monthly Test - 7 | 7 | 22 | 1
DFAS - Generator A2_6 Monthly Test - 7 | 7 | 23 | 1
DFAS - Pump Quarterly Inspection - Q3 | 7 | 31 | 30
DFAS - Hypoxic System Quarterly Maintenance - Q3 | 8 | 16 | 7
DFAS - Generator A1_1 Monthly Test - 8 | 8 | 18 | 1
DFAS - Generator A1_4 Monthly Test - 8 | 8 | 18 | 1
DFAS - Generator AM_7 Monthly Test - 8 | 8 | 18 | 1
DFAS - Generator A2_3 Monthly Test - 8 | 8 | 18 | 1
DFAS - Generator A2_5 Monthly Test - 8 | 8 | 19 | 1
DFAS - Generator A2_1 Monthly Test - 8 | 8 | 20 | 1
DFAS - Generator A2_4 Monthly Test - 8 | 8 | 20 | 1
DFAS - Generator A2_6 Monthly Test - 8 | 8 | 20 | 1
DFAS – CCU DX Leak Detection Quarterly Test - Q3 | 8 | 23 | 7
DFAS - Lift Quarterly Maintenance - Q3 | 8 | 30 | 7
DFAS – Battery String Quarterly Inspection - Q3 | 9 | 6 | 14
DFAS - UPS A2_1 Annual Maintenance | 9 | 6 | 21
DFAS - Generator A1_1 Monthly Test - 9 | 9 | 8 | 1
DFAS - Generator A1_4 Monthly Test - 9 | 9 | 8 | 1
DFAS - Generator AM_7 Monthly Test - 9 | 9 | 8 | 1
DFAS - Generator A2_1 Monthly Test - 9 | 9 | 10 | 1
DFAS - Generator A2_4 Monthly Test - 9 | 9 | 10 | 1
DFAS - Fuel Tank Quarterly Inspection - Q3 | 9 | 13 | 7
DFAS - Generator A2_3 Monthly Test - 9 | 9 | 15 | 1
DFAS - Generator A2_5 Monthly Test - 9 | 9 | 16 | 1
DFAS - Generator A2_6 Monthly Test - 9 | 9 | 17 | 1
DFAS - AHU Annual Maintenance | 9 | 20 | 28 | 35+36+37+38
DFAS – Axial Fan Annual Maintenance | 9 | 20 | 28 | 35+36+37+38
DFAS – DX Unit Annual Maintenance | 9 | 20 | 28 | 35+36+37+38
DFAS - Fire Alarm Annual Maintenance | 9 | 20 | 14 | 37+38
DFAS - Power Supply Unit Annual Maintenance | 9 | 20 | 14
DFAS - Mantrap Semiannual Maintenance - S2 | 9 | 27 | 7
DFAS - Shutter Annual Maintenance | 9 | 27 | 7
DFAS - External Lighting Annual Inspection | 9 | 30 | 29
DFAS - Humidifier Annual Maintenance | 9 | 30 | 45
DFAS - Compressor Annual Maintenance | 10 | 4 | 7
DFAS - Generator A1_1 Monthly Test - 10 | 10 | 5 | 1
DFAS - Generator A1_1 Semiannual Maintenance (Major) | 10 | 5 | 1
DFAS - Generator A1_4 Monthly Test - 10 | 10 | 8 | 1
DFAS - Generator A1_4 Semiannual Maintenance (Major) | 10 | 8 | 1
DFAS - Generator AM_7 Monthly Test - 10 | 10 | 8 | 1
DFAS - Generator AM_7 Semiannual Maintenance (Major) | 10 | 8 | 1
DFAS - Generator A2_1 Monthly Test - 10 | 10 | 9 | 1
DFAS - Generator A2_1 Semiannual Maintenance (Major) | 10 | 9 | 1
DFAS - Generator A2_3 Monthly Test - 10 | 10 | 13 | 1
DFAS - Generator A2_3 Semiannual Maintenance (Major) | 10 | 13 | 1
DFAS - Generator A2_5 Monthly Test - 10 | 10 | 14 | 1
DFAS - Generator A2_5 Semiannual Maintenance (Major) | 10 | 14 | 1
DFAS - Generator A2_6 Monthly Test - 10 | 10 | 15 | 1
DFAS - Generator A2_6 Semiannual Maintenance (Major) | 10 | 15 | 1
DFAS - Generator A2_4 Monthly Test - 10 | 10 | 16 | 1
DFAS - Generator A2_4 Semiannual Maintenance (Major) | 10 | 16 | 1
DFAS - Electric Water Heater Annual Maintenance | 10 | 18 | 7
DFAS - Munters A2_3 Semiannual Maintenance (Major) | 10 | 25 | 7
DFAS - Electric Panel Heater Annual Maintenance | 10 | 31 | 30
DFAS - Electrical Distribution Annual TEGG Inspection | 10 | 31 | 13
DFAS - Pump Quarterly Inspection - Q4 | 10 | 31 | 30
DFAS - VFD Annual Maintenance | 10 | 31 | 30
DFAS - Water Supply Annual Winter Shutdown | 10 | 31 | 30
DFAS - Hypoxic System Quarterly Maintenance - Q4 | 11 | 1 | 7
DFAS - Munters A3_3 Semiannual Maintenance (Major) | 11 | 1 | 7
DFAS - UPS A2_3 Annual Maintenance | 11 | 1 | 14
DFAS - BMS Semiannual Maintenance - S2 | 11 | 8 | 14
DFAS - Fire Suppression System Annual Maintenance | 11 | 8 | 7
DFAS - UPS A3_1 Annual Maintenance | 11 | 8 | 7
DFAS - Generator A1_1 Monthly Test - 11 | 11 | 10 | 1
DFAS - Generator A1_4 Monthly Test - 11 | 11 | 10 | 1
DFAS - Generator AM_7 Monthly Test - 11 | 11 | 10 | 1
DFAS - Generator A2_1 Monthly Test - 11 | 11 | 12 | 1
DFAS - Generator A2_4 Monthly Test - 11 | 11 | 12 | 1
DFAS – Battery String Quarterly Inspection - Q4 | 11 | 15 | 14
DFAS - Generator A2_3 Monthly Test - 11 | 11 | 17 | 1
DFAS - Generator A2_5 Monthly Test - 11 | 11 | 18 | 1
DFAS - Generator A2_6 Monthly Test - 11 | 11 | 19 | 1
DFAS – CCU DX Leak Detection Quarterly Test - Q4 | 11 | 22 | 7
DFAS - Fire Extinguishing Equipment Annual Maintenance | 11 | 29 | 7
DFAS - Lift Quarterly Maintenance - Q4 | 11 | 29 | 7
DFAS - Access Control and CCTV Annual Maintenance | 11 | 30 | 29
DFAS - Intruder Alarm Annual Maintenance | 11 | 30 | 29
DFAS - Fuel Tank Quarterly Inspection - Q4 | 12 | 6 | 7
DFAS - Emergency Lighting Annual Maintenance | 12 | 13 | 14
DFAS - Water Mist System Annual Maintenance | 12 | 13 | 7
DFAS - Generator A2_3 Monthly Test - 12 | 12 | 15 | 1
DFAS - Generator A2_5 Monthly Test - 12 | 12 | 16 | 1
DFAS - Generator A2_6 Monthly Test - 12 | 12 | 17 | 1
DFAS - Pressure Vessel Annual Inspection | 12 | 31 | 30
DFAS - Access Road and Car Park Monthly Inspection |  | 28 | 27
DFAS - AHU Monthly Inspection |  | 28 | 27
DFAS – Auto Gate Monthly Inspection |  | 28 | 27
DFAS - Perimeter Fence Monthly Inspection |  | 28 | 27
DFAS - Shower and WC Monthly Inspection |  | 28 | 27
DFAS - Site Monthly Inspection |  | 28 | 27
DFAS - Building and Grounds Weekly Inspection |  |  | 7
DFAS - Munters Corridor Weekly Inspection/Cleaning |  |  | 7
DFAS - Plant Room Weekly Housekeeping |  |  | 2
DFAS - Site Technical Daily Inspection - 1.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 1.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 2.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 2.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 3.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 3.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 4.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 4.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 5.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 5.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 6.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 6.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 7.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 7.2 |  |  | 1

## EVRY
DFAS Maintenance Calendar 2020 - EVRY
Maintenance Schedule | Due month | Due day of month | Lead time | Week | Comments
DFAS - Generator A1_1 Monthly Test - 1 | 1 | 13 | 1 | 3
DFAS - Generator A1_2 Monthly Test - 1 | 1 | 14 | 1 | 3
DFAS - Generator A1_3 Monthly Test - 1 | 1 | 15 | 1 | 3
DFAS - Generator A1_4 Monthly Test - 1 | 1 | 16 | 1 | 3
DFAS - Generator AM_7 Monthly Test - 1 | 1 | 16 | 1 | 3
DFAS - Generator A2_1 Monthly Test - 1 | 1 | 17 | 1 | 3
DFAS - Generator A2_2 Monthly Test - 1 | 1 | 20 | 1 | 4
DFAS - Generator A2_4 Monthly Test - 1 | 1 | 24 | 1 | 4
DFAS - Pump Quarterly Inspection - Q1 | 1 | 31 | 30
DFAS - Hypoxic System Quarterly Maintenance - Q1 | 2 | 2 | 7 | 5
DFAS - Scissor Lift Annual Maintenance | 2 | 9 | 7 | 6
DFAS - Generator A1_1 Monthly Test - 2 | 2 | 11 | 1 | 7
DFAS - Generator A1_2 Monthly Test - 2 | 2 | 11 | 1 | 7
DFAS - Generator A1_3 Monthly Test - 2 | 2 | 11 | 1 | 7
DFAS - Generator A1_4 Monthly Test - 2 | 2 | 11 | 1 | 7
DFAS - Generator AM_7 Monthly Test - 2 | 2 | 11 | 1 | 7
DFAS - Generator A2_1 Monthly Test - 2 | 2 | 13 | 1 | 7
DFAS - Generator A2_2 Monthly Test - 2 | 2 | 13 | 1 | 7
DFAS - Generator A2_4 Monthly Test - 2 | 2 | 13 | 1 | 7
DFAS – Battery String Quarterly Inspection - Q1 | 2 | 23 | 14 | 7+8
DFAS - Lift Quarterly Maintenance - Q1 | 2 | 28 | 7 | 9
DFAS - Tools, PPE and Ladders Annual Inspection | 2 | 28 | 7 | 9
DFAS – Auto Gate Annual Maintenance | 3 | 8 | 7 | 10
DFAS - Fuel Tank Quarterly Inspection - Q1 | 3 | 31 | 7 | 13 | Postponed to end of March
DFAS - Generator A1_1 Monthly Test - 3 | 3 | 10 | 1 | 11
DFAS - Generator A1_2 Monthly Test - 3 | 3 | 10 | 1 | 11
DFAS - Generator A1_3 Monthly Test - 3 | 3 | 10 | 1 | 11
DFAS - Generator A1_4 Monthly Test - 3 | 3 | 10 | 1 | 11
DFAS - Generator AM_7 Monthly Test - 3 | 3 | 10 | 1 | 11
DFAS - Generator A2_1 Monthly Test - 3 | 3 | 12 | 1 | 11
DFAS - Generator A2_2 Monthly Test - 3 | 3 | 12 | 1 | 11
DFAS - Generator A2_4 Monthly Test - 3 | 3 | 12 | 1 | 11
DFAS - Mantrap Semiannual Maintenance - S1 | 3 | 29 | 7 | 13
DFAS - Water Supply Filters Annual Maintenace | 3 | 27 | 25 | 10+11+12+13
DFAS - Munters A1_1 Semiannual Maintenance (Minor) | 4 | 5 | 7 | 14
DFAS - Munters A1_2 Semiannual Maintenance (Minor) | 4 | 12 | 7 | 15
DFAS - Generator A1_1 Monthly Test - 4 | 4 | 14 | 1 | 16
DFAS - Generator A1_2 Monthly Test - 4 | 4 | 14 | 1 | 16
DFAS - Generator A1_3 Monthly Test - 4 | 4 | 14 | 1 | 16
DFAS - Generator A1_4 Monthly Test - 4 | 4 | 14 | 1 | 16
DFAS - Generator AM_7 Monthly Test - 4 | 4 | 14 | 1 | 16
DFAS - Generator A2_1 Monthly Test - 4 | 4 | 16 | 1 | 16
DFAS - Generator A2_2 Monthly Test - 4 | 4 | 16 | 1 | 16
DFAS - Generator A2_4 Monthly Test - 4 | 4 | 16 | 1 | 16
DFAS - Munters A1_3 Semiannual Maintenance (Minor) | 4 | 19 | 7 | 16
DFAS - Hypoxic System Quarterly Maintenance - Q2 | 4 | 26 | 7 | 17
DFAS - Munters A2_1 Semiannual Maintenance (Minor) | 4 | 26 | 7 | 17
DFAS - Fire Doors and Exits Annual Inspection | 4 | 30 | 29
DFAS - Pump Quarterly Inspection - Q2 | 4 | 30 | 29
DFAS - Munters A2_2 Semiannual Maintenance (Minor) | 5 | 3 | 7 | 18
DFAS - BMS Semiannual Maintenance - S1 | 5 | 3 | 14 | 17+18
DFAS - Generator A1_1 Monthly Test - 5 | 5 | 4 | 1 | 19
DFAS - Generator A1_1 Semiannual Maintenance (Minor) | 5 | 4 | 1 | 19
DFAS - Generator A1_2 Monthly Test - 5 | 5 | 5 | 1 | 19
DFAS - Generator A1_2 Semiannual Maintenance (Minor) | 5 | 5 | 1 | 19
DFAS - Generator A1_3 Monthly Test - 5 | 5 | 6 | 1 | 19
DFAS - Generator A1_3 Semiannual Maintenance (Minor) | 5 | 6 | 1 | 19
DFAS - Generator A1_4 Monthly Test - 5 | 5 | 7 | 1 | 19
DFAS - Generator A1_4 Semiannual Maintenance (Minor) | 5 | 7 | 1 | 19
DFAS - Generator AM_7 Monthly Test - 5 | 5 | 7 | 1 | 19
DFAS - Generator AM_7 Semiannual Maintenance (Minor) | 5 | 7 | 1 | 19
DFAS - Generator A2_1 Monthly Test - 5 | 5 | 8 | 1 | 19
DFAS - Generator A2_1 Semiannual Maintenance (Minor) | 5 | 8 | 1 | 19
DFAS - Generator A2_2 Monthly Test - 5 | 5 | 11 | 1 | 20
DFAS - Generator A2_2 Semiannual Maintenance (Minor) | 5 | 11 | 1 | 20
DFAS - Generator A2_4 Monthly Test - 5 | 5 | 15 | 1 | 20
DFAS - Generator A2_4 Semiannual Maintenance (Minor) | 5 | 15 | 1 | 20
DFAS – Battery String Quarterly Inspection - Q2 | 5 | 17 | 14 | 19+20
DFAS - UPS A1_2 Annual Maintenance | 5 | 22 | 12 | 20+21
DFAS - Lift Quarterly Maintenance - Q2 | 5 | 24 | 7 | 21
DFAS - Water Supply Annual Summer Enabling | 5 | 24 | 35 | 17/18/19/20/21
DFAS - Building Drain Annual Cleaning | 5 | 30 | 29
DFAS - External Facade Annual Cleaning | 5 | 31 | 7 | 22
DFAS - UPS A1_3 Annual Maintenance | 6 | 5 | 21 | 21+22+23
DFAS - Generator A1_1 Monthly Test - 6 | 6 | 9 | 1 | 24
DFAS - Generator A1_2 Monthly Test - 6 | 6 | 9 | 1 | 24
DFAS - Generator A1_3 Monthly Test - 6 | 6 | 9 | 1 | 24
DFAS - Generator A1_4 Monthly Test - 6 | 6 | 9 | 1 | 24
DFAS - Generator AM_7 Monthly Test - 6 | 6 | 9 | 1 | 24
DFAS - Generator A2_1 Monthly Test - 6 | 6 | 11 | 1 | 24
DFAS - Generator A2_2 Monthly Test - 6 | 6 | 11 | 1 | 24
DFAS - Generator A2_4 Monthly Test - 6 | 6 | 11 | 1 | 24
DFAS - Fuel Tank Quarterly Inspection - Q2 | 6 | 14 | 7 | 24
DFAS - Generator A1_1 Monthly Test - 7 | 6 | 23 | 1 | 26
DFAS - Generator A1_2 Monthly Test - 7 | 6 | 23 | 1 | 26
DFAS - Generator A1_3 Monthly Test - 7 | 6 | 23 | 1 | 26
DFAS - Generator A1_4 Monthly Test - 7 | 6 | 23 | 1 | 26
DFAS - Generator AM_7 Monthly Test - 7 | 6 | 23 | 1 | 26
DFAS - Generator A2_1 Monthly Test - 7 | 6 | 25 | 1 | 26
DFAS - Generator A2_2 Monthly Test - 7 | 6 | 25 | 1 | 26
DFAS - Generator A2_4 Monthly Test - 7 | 6 | 25 | 1 | 26
DFAS - UPS A1_1 Annual Maintenance | 6 | 26 | 26 | 23+24+25+26
DFAS - Water Supply Annual Inspection | 7 | 19 | 7 | 29
DFAS - Pump Quarterly Inspection - Q3 | 7 | 31 | 30
DFAS - Hypoxic System Quarterly Maintenance - Q3 | 8 | 16 | 7 | 33
DFAS - Generator A1_1 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator A1_2 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator A1_3 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator A1_4 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator AM_7 Monthly Test - 8 | 8 | 18 | 1 | 34
DFAS - Generator A2_1 Monthly Test - 8 | 8 | 20 | 1 | 34
DFAS - Generator A2_2 Monthly Test - 8 | 8 | 20 | 1 | 34
DFAS - Generator A2_4 Monthly Test - 8 | 8 | 20 | 1 | 34
DFAS - Lift Quarterly Maintenance - Q3 | 8 | 30 | 7 | 35
DFAS - UPS A2_1 Annual Maintenance | 9 | 6 | 21 | 34+35+36
DFAS – Battery String Quarterly Inspection - Q3 | 9 | 6 | 14 | 35+36
DFAS - Generator A1_1 Monthly Test - 9 | 9 | 8 | 1 | 37
DFAS - Generator A1_2 Monthly Test - 9 | 9 | 8 | 1 | 37
DFAS - Generator A1_3 Monthly Test - 9 | 9 | 8 | 1 | 37
DFAS - Generator A1_4 Monthly Test - 9 | 9 | 8 | 1 | 37
DFAS - Generator AM_7 Monthly Test - 9 | 9 | 8 | 1 | 37
DFAS - Generator A2_1 Monthly Test - 9 | 9 | 10 | 1 | 37
DFAS - Generator A2_2 Monthly Test - 9 | 9 | 10 | 1 | 37
DFAS - Generator A2_4 Monthly Test - 9 | 9 | 10 | 1 | 37
DFAS - Fuel Tank Quarterly Inspection - Q3 | 9 | 13 | 7 | 37
DFAS - Munters A1_1 Semiannual Maintenance (Major) | 9 | 20 | 7 | 38
DFAS - AHU Annual Maintenance | 9 | 20 | 28 | 35+36+37+38
DFAS – Axial Fan Annual Maintenance | 9 | 20 | 28 | 35+36+37+38
DFAS – DX Unit Annual Maintenance | 9 | 20 | 28 | 35+36+37+38
DFAS - Fire Alarm Annual Maintenance | 9 | 20 | 14 | 37+38
DFAS - Power Supply Unit Annual Maintenance | 9 | 20 | 14 | 37+38
DFAS - UPS A2_2 Annual Maintenance | 9 | 20 | 14 | 37+38
DFAS - Mantrap Semiannual Maintenance - S2 | 9 | 27 | 7 | 39
DFAS - Munters A1_2 Semiannual Maintenance (Major) | 9 | 27 | 7 | 39
DFAS - Shutter Annual Maintenance | 9 | 27 | 7 | 39
DFAS - External Lighting Annual Inspection | 9 | 30 | 29
DFAS - Humidifier Annual Maintenance | 9 | 30 | 45
DFAS - Compressor Annual Maintenance | 10 | 4 | 7 | 40
DFAS - Munters A1_3 Semiannual Maintenance (Major) | 10 | 4 | 7 | 40
DFAS - Generator A1_1 Monthly Test - 10 | 10 | 5 | 1 | 41
DFAS - Generator A1_1 Semiannual Maintenance (Major) | 10 | 5 | 1 | 41
DFAS - Generator A1_2 Monthly Test - 10 | 10 | 6 | 1 | 41
DFAS - Generator A1_2 Semiannual Maintenance (Major) | 10 | 6 | 1 | 41
DFAS - Generator A1_3 Monthly Test - 10 | 10 | 7 | 1 | 41
DFAS - Generator A1_3 Semiannual Maintenance (Major) | 10 | 7 | 1 | 41
DFAS - Generator A1_4 Monthly Test - 10 | 10 | 8 | 1 | 41
DFAS - Generator A1_4 Semiannual Maintenance (Major) | 10 | 8 | 1 | 41
DFAS - Generator AM_7 Monthly Test - 10 | 10 | 8 | 1 | 41
DFAS - Generator AM_7 Semiannual Maintenance (Major) | 10 | 8 | 1 | 41
DFAS - Generator A2_1 Monthly Test - 10 | 10 | 9 | 1 | 41
DFAS - Generator A2_1 Semiannual Maintenance (Major) | 10 | 9 | 1 | 41
DFAS - Munters A2_1 Semiannual Maintenance (Major) | 10 | 11 | 7 | 41
DFAS - Generator A2_2 Monthly Test - 10 | 10 | 12 | 1 | 42
DFAS - Generator A2_2 Semiannual Maintenance (Major) | 10 | 12 | 1 | 42
DFAS - Generator A2_4 Monthly Test - 10 | 10 | 16 | 1 | 42
DFAS - Generator A2_4 Semiannual Maintenance (Major) | 10 | 16 | 1 | 42
DFAS - Electric Water Heater Annual Maintenance | 10 | 18 | 7 | 42
DFAS - Munters A2_2 Semiannual Maintenance (Major) | 10 | 18 | 7 | 42
DFAS - Electric Panel Heater Annual Maintenance | 10 | 31 | 30
DFAS - Pump Quarterly Inspection - Q4 | 10 | 31 | 30
DFAS - VFD Annual Maintenance | 10 | 31 | 30
DFAS - Water Supply Annual Winter Shutdown | 10 | 31 | 30
DFAS - Electrical Distribution Annual TEGG Inspection | 10 | 31 | 13 | 43+44
DFAS - Hypoxic System Quarterly Maintenance - Q4 | 11 | 1 | 7 | 44
DFAS - Fire Suppression System Annual Maintenance | 11 | 8 | 7 | 45
DFAS - BMS Semiannual Maintenance - S2 | 11 | 8 | 14 | 44+45
DFAS - Generator A1_1 Monthly Test - 11 | 11 | 10 | 1 | 46
DFAS - Generator A1_2 Monthly Test - 11 | 11 | 10 | 1 | 46
DFAS - Generator A1_3 Monthly Test - 11 | 11 | 10 | 1 | 46
DFAS - Generator A1_4 Monthly Test - 11 | 11 | 10 | 1 | 46
DFAS - Generator AM_7 Monthly Test - 11 | 11 | 10 | 1 | 46
DFAS - Generator A2_1 Monthly Test - 11 | 11 | 12 | 1 | 46
DFAS - Generator A2_2 Monthly Test - 11 | 11 | 12 | 1 | 46
DFAS - Generator A2_4 Monthly Test - 11 | 11 | 12 | 1 | 46
DFAS – Battery String Quarterly Inspection - Q4 | 11 | 15 | 14 | 45+46
DFAS - Fire Extinguishing Equipment Annual Maintenance | 11 | 29 | 7 | 48
DFAS - Lift Quarterly Maintenance - Q4 | 11 | 29 | 7 | 48
DFAS - Access Control and CCTV Annual Maintenance | 11 | 30 | 29
DFAS - Intruder Alarm Annual Maintenance | 11 | 30 | 29
DFAS - Fuel Tank Quarterly Inspection - Q4 | 12 | 6 | 7 | 49
DFAS - Water Mist System Annual Maintenance | 12 | 13 | 7 | 50
DFAS - Emergency Lighting Annual Maintenance | 12 | 13 | 14 | 49+50
DFAS - Pressure Vessel Annual Inspection | 12 | 31 | 30
DFAS - Access Road and Car Park Monthly Inspection |  | 28 | 27
DFAS - AHU Monthly Inspection |  | 28 | 27
DFAS – Auto Gate Monthly Inspection |  | 28 | 27
DFAS - Perimeter Fence Monthly Inspection |  | 28 | 27
DFAS - Shower and WC Monthly Inspection |  | 28 | 27
DFAS - Site Monthly Inspection |  | 28 | 27
DFAS - Building and Grounds Weekly Inspection |  |  | 7
DFAS - Munters Corridor Weekly Inspection/Cleaning |  |  | 7
DFAS - Plant Room Weekly Housekeeping |  |  | 2
DFAS - Site Technical Daily Inspection - 1.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 1.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 2.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 2.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 3.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 3.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 4.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 4.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 5.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 5.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 6.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 6.2 |  |  | 1
DFAS - Site Technical Daily Inspection - 7.1 |  |  | 1
DFAS - Site Technical Daily Inspection - 7.2 |  |  | 1

## Customer Notification
DFAS Customer Notification Calendar 2020
Name | Due month | Due day of month | Lead time | Due day of week | Trigger type
DFAS - Customer Notification - CCU DX Annual Maintenance | 1 | 10 | 14 |  | Annually
DFAS - Customer Notification - UPS A1_2 Annual Maintenance | 4 | 10 | 14 |  | Annually
DFAS - Customer Notification - UPS A1_3 Annual Maintenance | 4 | 17 | 14 |  | Annually
DFAS - Customer Notification - Generator Semiannual Maintenance (Minor) | 4 | 3 | 14 |  | Annually
DFAS - Customer Notification - UPS A1_1 Annual Maintenance | 5 | 1 | 14 |  | Annually
DFAS - Customer Notification - UPS A2_1 Annual Maintenance | 7 | 17 | 14 |  | Annually
DFAS - Customer Notification - UPS A2_2 Annual Maintenance | 8 | 7 | 14 |  | Annually
DFAS - Customer Notification - Munters A1_1 Semiannual Maintenance (Major) | 8 | 14 | 14 |  | Annually
DFAS - Customer Notification - Munters A1_2 Semiannual Maintenance (Major) | 8 | 21 | 14 |  | Annually
DFAS - Customer Notification - Munters A1_3 Semiannual Maintenance (Major) | 8 | 28 | 14 |  | Annually
DFAS - Customer Notification - Generator Semiannual Maintenance (Major) | 9 | 4 | 14 |  | Annually
DFAS - Customer Notification - Munters A2_1 Semiannual Maintenance (Major) | 9 | 4 | 14 |  | Annually
DFAS - Customer Notification - Munters A2_2 Semiannual Maintenance (Major) | 9 | 11 | 14 |  | Annually
DFAS - Customer Notification - Munters A2_3 Semiannual Maintenance (Major) | 9 | 18 | 14 |  | Annually
DFAS - Customer Notification - UPS A2_3 Annual Maintenance | 9 | 18 | 14 |  | Annually
DFAS - Customer Notification - Munters A3_3 Semiannual Maintenance (Major) | 9 | 25 | 14 |  | Annually
DFAS - Customer Notification - Access Control and CCTV Annual Maintenance | 10 | 1 | 14 |  | Annually
DFAS - Customer Notification - UPS A3_1 Annual Maintenance | 10 | 2 | 14 |  | Annually
DFAS - Customer Notification - Generator Monthly Test |  | 1 | 14 |  | Monthly