## Ark1
Asset Tag | Description | Asset Type | Last Known Location | Location Name | Floor | Site | Campus | Asset Manufacturer | Asset Model Name | Asset Vendor | Primary Service Provider | Status | Customer | Barcode | Updated
HC=365.300 | AHU SA/01 | Air Conditioning-AHU | C_202 | AHU Plantroom A | C_2 | C | DHAS Campus | FläktGroup | Unknown |  |  | Installed |  | HC=365.300 | 2021-09-24 06:02
HC=335.100 | Novec Fire Master Control Panel DH1 | Fire Prevention-Fire Suppression | C_103 | Escape Corridor West | C_1 | C | DHAS Campus | Kentec Electronics Ltd | Unknown |  | Brannslokkesystemer AS | Installed |  | HC=335.100 | 2021-09-24 06:00
HC=462.600 | UPS LL | UPS-UPS Static | C_107 | Landlord Switch Room | C_1 | C | DHAS Campus | Unknown | Unknown |  |  | Installed |  | HC=462.600 | 2021-09-24 06:02
HC=354.223 | IEC Unit 7 DH2 | Cooling-IEC | C_211 | IEC Area DH2 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.223 | 2021-09-24 06:00
HC=431.300 | Switchboard Incomer C | Electrical Distribution-Switchboard | C_010 | Power POD C | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=431.300 | 2021-09-24 06:02
HC=353.101 | CCU 01 POD A | Cooling-CCU DX | C_006 | Power POD A | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=353.101 | 2021-09-24 06:01
HC=463.500 | Battery System UPS E | UPS-Battery String | C_013 | Power POD E | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=463.500 | 2021-09-24 06:02
HC=354.314 | IEC Unit 4 DH3 | Cooling-IEC | C_209 | IEC Area DH3 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.314 | 2021-09-24 06:02
HC=433.200 | Switchboard IEC Units B | Electrical Distribution-Switchboard | C_007 | Power POD B | C_0 | C | DHAS Campus | ELCOR | Unknown |  |  | Installed |  | HC=433.200 | 2021-09-24 06:00
HC=353.302 | CCU 02 POD C | Cooling-CCU DX | C_010 | Power POD C | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=353.302 | 2021-09-24 06:00
HC=469.400 | Switchboard UPS D | Electrical Distribution-Switchboard | C_011 | Power POD D | C_0 | C | DHAS Campus | Schneider | Unknown |  | Schneider Electric Norge AS | Installed |  | HC=469.400 | 2021-09-24 06:01
HC=354.411 | IEC Unit 1 DH4 | Cooling-IEC | C_208 | IEC Area DH4 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.411 | 2021-09-24 06:01
HC=354.422 | IEC Unit 6 DH4 | Cooling-IEC | C_208 | IEC Area DH4 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.422 | 2021-09-24 06:01
HC=461.100 | Generator A Supplies Red Circuit | Power Generator-Diesel Generator | C_005 | Generator A | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed | Microsoft Datacenter Norway AS | HC=461.100 | 2021-09-24 06:02
HC=353.601 | DX-Unit support Office | Cooling-DX Unit | C_211 | IEC Area DH2 | C_2 | C | DHAS Campus | Daikin | Unknown |  | Kaldt og Varmt AS | Installed |  | HC=353.601 | 2021-09-24 06:00
HC=553.100 | CCTV System | Security System-CCTV | C_107 | Landlord Switch Room | C_1 | C | DHAS Campus | Stanley | Unknown | Stanley Security AS | Stanley Security AS | Installed |  | HC=553.100 | 2021-09-24 06:01
HC=461.300-NU | Fuel Tank Generator C | Power Generator-Fuel Tank | C_009 | Generator C | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed |  | HC=461.300-NU | 2021-09-24 06:01
HC=354.113 | IEC Unit 3 DH1 | Cooling-IEC | C_210 | IEC Area DH1 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.113 | 2021-09-24 06:02
HC=732.100 | Snow Melt System 1 | Heating Equipment-Snow Melt System | C_104 | Mechanical Plant (RO) West | C_1 | C | DHAS Campus | Unknown | Unknown |  |  | Installed |  | HC=732.100 | 2021-09-24 06:02
HC=461.600 | Generator LL | Power Generator-Diesel Generator | C_004 | Generator LL | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed | Microsoft Datacenter Norway AS | HC=461.600 | 2021-09-24 06:00
HC=354.124 | IEC Unit 8 DH1 | Cooling-IEC | C_210 | IEC Area DH1 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.124 | 2021-09-24 06:00
HC=365.200 | AHU DH3-4 | Air Conditioning-AHU | C_203 | AHU Plantroom B | C_2 | C | DHAS Campus | FläktGroup | Unknown |  |  | Installed |  | HC=365.200 | 2021-09-24 06:01
HC=462.400 | UPS D | UPS-UPS Static | C_011 | Power POD D | C_0 | C | DHAS Campus | Schneider | Unknown |  | Schneider Electric Norge AS | Installed |  | HC=462.400 | 2021-09-24 06:01
HC=354.221 | IEC Unit 5 DH2 | Cooling-IEC | C_211 | IEC Area DH2 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.221 | 2021-09-24 06:00
HC=431.100 | Switchboard Incomer A | Electrical Distribution-Switchboard | C_006 | Power POD A | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=431.100 | 2021-09-24 06:00
HC=335.400 | Novec Fire Master Control Panel DH4 | Fire Prevention-Fire Suppression | C_101 | Service Corridor & Gas Bottle Store | C_1 | C | DHAS Campus | Kentec Electronics Ltd | Unknown |  | Brannslokkesystemer AS | Installed |  | HC=335.400 | 2021-09-24 06:01
HC=463.300 | Battery System UPS C | UPS-Battery String | C_010 | Power POD C | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=463.300 | 2021-09-24 06:01
HC=354.312 | IEC Unit 2 DH3 | Cooling-IEC | C_209 | IEC Area DH3 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.312 | 2021-09-24 06:00
HC=431.600 | Switchboard Incomer LL | Electrical Distribution-Switchboard | C_107 | Landlord Switch Room | C_1 | C | DHAS Campus | ELCOR | Unknown |  |  | Installed |  | HC=431.600 | 2021-09-24 06:00
HC=353.202 | CCU 02 POD B | Cooling-CCU DX | C_007 | Power POD B | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=353.202 | 2021-09-24 06:00
HC=469.200 | Switchboard UPS B | Electrical Distribution-Switchboard | C_007 | Power POD B | C_0 | C | DHAS Campus | Schneider | Unknown |  | Schneider Electric Norge AS | Installed |  | HC=469.200 | 2021-09-24 06:01
HC=354.323 | IEC Unit 7 DH3 | Cooling-IEC | C_209 | IEC Area DH3 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.323 | 2021-09-24 06:01
HC=433.500 | Switchboard IEC Units E | Electrical Distribution-Switchboard | C_013 | Power POD E | C_0 | C | DHAS Campus | ELCOR | Unknown |  |  | Installed |  | HC=433.500 | 2021-09-24 06:01
HC=353.501 | CCU 01 POD E | Cooling-CCU DX | C_013 | Power POD E | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=353.501 | 2021-09-24 06:00
HC=542.100 | Fire Alarm System | Fire Alarm-Fire Panel | C_115 | OPS Server Room | C_1 | C | DHAS Campus | Brannslokkesystemer AS | Unknown | Brannslokkesystemer AS | Brannslokkesystemer AS | Installed |  | HC=542.100 | 2021-09-24 06:00
HC=354.414 | IEC Unit 4 DH4 | Cooling-IEC | C_208 | IEC Area DH4 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.414 | 2021-09-24 06:01
HC=461.200-NU | Fuel Tank Generator B | Power Generator-Fuel Tank | C_008 | Generator B | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed |  | HC=461.200-NU | 2021-09-24 06:00
HC=354.111 | IEC Unit 1 DH1 | Cooling-IEC | C_210 | IEC Area DH1 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.111 | 2021-09-24 06:01
HC=624.100 | Passenger Lift | Transport-Passenger Lift | C_120 | Service Lift 1st floor | C_1 | C | DHAS Campus | Unknown | Unknown |  |  | Installed |  | HC=624.100 | 2021-09-24 06:02
HC=461.500 | Generator E Supplies Purple Circuit | Power Generator-Diesel Generator | C_014 | Generator E | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed | Microsoft Datacenter Norway AS | HC=461.500 | 2021-09-24 06:02
HC=354.122 | IEC Unit 6 DH1 | Cooling-IEC | C_210 | IEC Area DH1 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.122 | 2021-09-24 06:02
HC=365.100 | AHU DH1-2 | Air Conditioning-AHU | C_204 | AHU Plantroom C | C_2 | C | DHAS Campus | FläktGroup | Unknown |  |  | Installed |  | HC=365.100 | 2021-09-24 06:01
HC=462.200 | UPS B | UPS-UPS Static | C_007 | Power POD B | C_0 | C | DHAS Campus | Schneider | Unknown |  | Schneider Electric Norge AS | Installed |  | HC=462.200 | 2021-09-24 06:01
HC=354.213 | IEC Unit 3 DH2 | Cooling-IEC | C_211 | IEC Area DH2 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.213 | 2021-09-24 06:02
HC=389.100 | Process Water System 1 | Water Supply-Water Supply | C_104 | Mechanical Plant (RO) West | C_1 | C | DHAS Campus | Eurowater | Unknown | Eurowater | Eurowater | Installed |  | HC=389.100 | 2021-09-24 06:02
HC=335.200 | Novec Fire Master Control Panel DH2 | Fire Prevention-Fire Suppression | C_102 | Service Corridor & Gas Bottle Store | C_1 | C | DHAS Campus | Kentec Electronics Ltd | Unknown |  | Brannslokkesystemer AS | Installed |  | HC=335.200 | 2021-09-24 06:00
HC=463.100 | Battery System UPS A | UPS-Battery String | C_006 | Power POD A | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=463.100 | 2021-09-24 06:00
HC=354.224 | IEC Unit 8 DH2 | Cooling-IEC | C_211 | IEC Area DH2 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.224 | 2021-09-24 06:02
HC=431.400 | Switchboard Incomer D | Electrical Distribution-Switchboard | C_011 | Power POD D | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=431.400 | 2021-09-24 06:00
HC=353.102 | CCU 02 POD A | Cooling-CCU DX | C_006 | Power POD A | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=353.102 | 2021-09-24 06:00
HC=463.600 | Battery System UPS LL | UPS-Battery String | C_107 | Landlord Switch Room | C_1 | C | DHAS Campus | Unknown | Unknown |  |  | Installed |  | HC=463.600 | 2021-09-24 06:02
HC=354.321 | IEC Unit 5 DH3 | Cooling-IEC | C_209 | IEC Area DH3 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.321 | 2021-09-24 06:00
HC=433.300 | Switchboard IEC Units C | Electrical Distribution-Switchboard | C_010 | Power POD C | C_0 | C | DHAS Campus | ELCOR | Unknown |  |  | Installed |  | HC=433.300 | 2021-09-24 06:01
HC=353.401 | CCU 01 POD D | Cooling-CCU DX | C_011 | Power POD D | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=353.401 | 2021-09-24 06:00
HC=469.500 | Switchboard UPS E | Electrical Distribution-Switchboard | C_013 | Power POD E | C_0 | C | DHAS Campus | Schneider | Unknown |  | Schneider Electric Norge AS | Installed |  | HC=469.500 | 2021-09-24 06:01
HC=354.412 | IEC Unit 2 DH4 | Cooling-IEC | C_208 | IEC Area DH4 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.412 | 2021-09-24 06:02
HC=354.423 | IEC Unit 7 DH4 | Cooling-IEC | C_208 | IEC Area DH4 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.423 | 2021-09-24 06:01
HC=461.100-NU | Fuel Tank Generator A | Power Generator-Fuel Tank | C_005 | Generator A | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed |  | HC=461.100-NU | 2021-09-24 06:02
HC=353.602 | DX-Unit support Server room | Cooling-DX Unit | C_211 | IEC Area DH2 | C_2 | C | DHAS Campus | Daikin | Unknown |  | Kaldt og Varmt AS | Installed |  | HC=353.602 | 2021-09-24 06:01
HC=562.100 | BMS Headend (Primary) | BMS Equipment-BMS Headend | C_115 | OPS Server Room | C_1 | C | DHAS Campus | Chartwell | Unknown |  |  | Installed |  | HC=562.100 | 2021-09-24 06:02
HC=461.400 | Generator D Supplies Orange Circuit | Power Generator-Diesel Generator | C_012 | Generator D | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed | Microsoft Datacenter Norway AS | HC=461.400 | 2021-09-24 06:02
HC=354.114 | IEC Unit 4 DH1 | Cooling-IEC | C_210 | IEC Area DH1 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.114 | 2021-09-24 06:01
HC=732.200 | Snow Melt System 2 | Heating Equipment-Snow Melt System | C_203 | AHU Plantroom B | C_2 | C | DHAS Campus | Unknown | Unknown |  |  | Installed |  | HC=732.200 | 2021-09-24 06:00
HC=461.600-NU | Fuel Tank Generator LL | Power Generator-Fuel Tank | C_004 | Generator LL | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed |  | HC=461.600-NU | 2021-09-24 06:00
HC=354.211 | IEC Unit 1 DH2 | Cooling-IEC | C_211 | IEC Area DH2 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.211 | 2021-09-24 06:02
HC=365.200-LU | Humidifier DH3-4 | Air Conditioning-Humidifier | C_203 | AHU Plantroom B | C_2 | C | DHAS Campus | FläktGroup | Unknown |  |  | Installed |  | HC=365.200-LU | 2021-09-24 06:01
HC=333.100 | Water Mist System | Fire Prevention-Water Mist System | C_128 | Mechanical Plant (RO) East | C_1 | C | DHAS Campus | Brannslokkesystemer AS | Unknown | Brannslokkesystemer AS | Brannslokkesystemer AS | Installed |  | HC=333.100 | 2021-09-24 06:00
HC=462.500 | UPS E | UPS-UPS Static | C_013 | Power POD E | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=462.500 | 2021-09-24 06:01
HC=354.222 | IEC Unit 6 DH2 | Cooling-IEC | C_211 | IEC Area DH2 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.222 | 2021-09-24 06:00
HC=431.200 | Switchboard Incomer B | Electrical Distribution-Switchboard | C_007 | Power POD B | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=431.200 | 2021-09-24 06:01
HC=335.500 | Novec Fire Master Control Panel Corridor | Fire Prevention-Fire Suppression | C_102 | Service Corridor & Gas Bottle Store | C_1 | C | DHAS Campus | Kentec Electronics Ltd | Unknown |  | Brannslokkesystemer AS | Installed |  | HC=335.500 | 2021-09-24 06:02
HC=463.400 | Battery System UPS D | UPS-Battery String | C_011 | Power POD D | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=463.400 | 2021-09-24 06:01
HC=354.313 | IEC Unit 3 DH3 | Cooling-IEC | C_209 | IEC Area DH3 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.313 | 2021-09-24 06:00
HC=433.100 | Switchboard IEC Units A | Electrical Distribution-Switchboard | C_006 | Power POD A | C_0 | C | DHAS Campus | ELCOR | Unknown |  |  | Installed |  | HC=433.100 | 2021-09-24 06:01
HC=353.301 | CCU 01 POD C | Cooling-CCU DX | C_011 | Power POD D | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=353.301 | 2021-09-24 06:01
HC=469.300 | Switchboard UPS C | Electrical Distribution-Switchboard | C_010 | Power POD C | C_0 | C | DHAS Campus | Schneider | Unknown |  | Schneider Electric Norge AS | Installed |  | HC=469.300 | 2021-09-24 06:02
HC=354.324 | IEC Unit 8 DH3 | Cooling-IEC | C_209 | IEC Area DH3 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.324 | 2021-09-24 06:02
HC=354.421 | IEC Unit 5 DH4 | Cooling-IEC | C_208 | IEC Area DH4 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.421 | 2021-09-24 06:00
HC=443.100 | Emergency Lighting System | Lighting-Emergency Lighting | C_107 | Landlord Switch Room | C_1 | C | DHAS Campus | Unknown | Unknown |  |  | Installed |  | HC=443.100 | 2021-09-24 06:00
HC=353.502 | CCU 02 POD E | Cooling-CCU DX | C_013 | Power POD E | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=353.502 | 2021-09-24 06:00
HC=543.100 | Access Control System | Security System-Access Control System | C_107 | Landlord Switch Room | C_1 | C | DHAS Campus | Stanley | Unknown |  | Stanley Security AS | Installed |  | HC=543.100 | 2021-09-24 06:02
HC=461.300 | Generator C Supplies Green Circuit | Power Generator-Diesel Generator | C_009 | Generator C | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed | Microsoft Datacenter Norway AS | HC=461.300 | 2021-09-24 06:01
HC=354.112 | IEC Unit 2 DH1 | Cooling-IEC | C_210 | IEC Area DH1 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.112 | 2021-09-24 06:02
HC=624.200 | Scissor Lift | Transport-Scissor Lift | C_122 | Loading Bay | C_1 | C | DHAS Campus | Unknown | Unknown |  | Komplett Maskinservice AS | Installed |  | HC=624.200 | 2021-09-24 06:01
HC=461.500-NU | Fuel Tank Generator E | Power Generator-Fuel Tank | C_014 | Generator E | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed |  | HC=461.500-NU | 2021-09-24 06:02
HC=354.123 | IEC Unit 7 DH1 | Cooling-IEC | C_210 | IEC Area DH1 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.123 | 2021-09-24 06:01
HC=365.100-LU | Humidifier DH1-2 | Air Conditioning-Humidifier | C_204 | AHU Plantroom C | C_2 | C | DHAS Campus | FläktGroup | Unknown |  |  | Installed |  | HC=365.100-LU | 2021-09-24 06:00
HC=462.300 | UPS C | UPS-UPS Static | C_010 | Power POD C | C_0 | C | DHAS Campus | Schneider | Unknown |  | Schneider Electric Norge AS | Installed |  | HC=462.300 | 2021-09-24 06:02
HC=354.214 | IEC Unit 4 DH2 | Cooling-IEC | C_211 | IEC Area DH2 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.214 | 2021-09-24 06:01
HC=389.200 | Process Water System 2 | Water Supply-Water Supply | C_128 | Mechanical Plant (RO) East | C_1 | C | DHAS Campus | Unknown | Unknown |  | Eurowater | Installed |  | HC=389.200 | 2021-09-24 06:00
HC=335.300 | Novec Fire Master Control Panel DH3 | Fire Prevention-Fire Suppression | C_100 | Escape Corridor East | C_1 | C | DHAS Campus | Kentec Electronics Ltd | Unknown |  | Brannslokkesystemer AS | Installed |  | HC=335.300 | 2021-09-24 06:01
HC=463.200 | Battery System UPS B | UPS-Battery String | C_007 | Power POD B | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=463.200 | 2021-09-24 06:00
HC=354.311 | IEC Unit 1 DH3 | Cooling-IEC | C_209 | IEC Area DH3 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.311 | 2021-09-24 06:00
HC=431.500 | Switchboard Incomer E | Electrical Distribution-Switchboard | C_013 | Power POD E | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=431.500 | 2021-09-24 06:00
HC=353.201 | CCU 01 POD B | Cooling-CCU DX | C_007 | Power POD B | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=353.201 | 2021-09-24 06:01
HC=469.100 | Switchboard UPS A | Electrical Distribution-Switchboard | C_006 | Power POD A | C_0 | C | DHAS Campus | Schneider | Unknown |  | Schneider Electric Norge AS | Installed |  | HC=469.100 | 2021-09-24 06:01
HC=354.322 | IEC Unit 6 DH3 | Cooling-IEC | C_209 | IEC Area DH3 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.322 | 2021-09-24 06:02
HC=433.400 | Switchboard IEC Units D | Electrical Distribution-Switchboard | C_011 | Power POD D | C_0 | C | DHAS Campus | ELCOR | Unknown |  |  | Installed |  | HC=433.400 | 2021-09-24 06:02
HC=353.402 | CCU 02 POD D | Cooling-CCU DX | C_011 | Power POD D | C_0 | C | DHAS Campus | Schneider | Unknown | Schneider Electric Norge AS | Schneider Electric Norge AS | Installed |  | HC=353.402 | 2021-09-24 06:00
HC=469.600 | Switchboard UPS LL | Electrical Distribution-Switchboard | C_107 | Landlord Switch Room | C_1 | C | DHAS Campus | ELCOR | Unknown |  |  | Installed |  | HC=469.600 | 2021-09-24 06:00
HC=354.413 | IEC Unit 3 DH4 | Cooling-IEC | C_208 | IEC Area DH4 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.413 | 2021-09-24 06:01
HC=461.200 | Generator B Supplies Blue Circuit | Power Generator-Diesel Generator | C_008 | Generator B | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed | Microsoft Datacenter Norway AS | HC=461.200 | 2021-09-24 06:01
HC=353.603 | DX-Unit support AHU Office | Cooling-DX Unit | C_208 | IEC Area DH4 | C_2 | C | DHAS Campus | Daikin | Unknown |  | Kaldt og Varmt AS | Installed |  | HC=353.603 | 2021-09-24 06:00
HC=562.200 | BMS Headend (Secondary) | BMS Equipment-BMS Headend | C_129 | POE East | C_1 | C | DHAS Campus | Chartwell | Unknown |  |  | Installed |  | HC=562.200 | 2021-09-24 06:01
HC=461.400-NU | Fuel Tank Generator D | Power Generator-Fuel Tank | C_012 | Generator D | C_0 | C | DHAS Campus | PON CAT | Unknown | Pon Power AS | Pon Power AS | Installed |  | HC=461.400-NU | 2021-09-24 06:01
HC=354.121 | IEC Unit 5 DH1 | Cooling-IEC | C_210 | IEC Area DH1 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.121 | 2021-09-24 06:00
HC=354.424 | IEC Unit 8 DH4 | Cooling-IEC | C_208 | IEC Area DH4 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.424 | 2021-09-24 06:02
HC=462.100 | UPS A | UPS-UPS Static | C_006 | Power POD A | C_0 | C | DHAS Campus | Schneider | Unknown |  | Schneider Electric Norge AS | Installed |  | HC=462.100 | 2021-09-24 06:00
HC=354.212 | IEC Unit 2 DH2 | Cooling-IEC | C_211 | IEC Area DH2 | C_2 | C | DHAS Campus | FläktGroup | Unknown |  | FläktGroup | Installed |  | HC=354.212 | 2021-09-24 06:00