## Common Controls
Control Number | Old Control activity | Control Activity # | Requirements | Status | Responsible | Digiplex Comments | Deloitte Comments
CA.01 | CA1 | Digiplex has established ethical values applicable to the company and its employees, supported by governing documents and commitment are communicated by management. | 1. Digiplex Group Management Plan 2. Screenshot from share point demonstrating that the governing documents were communicated to all employees | Ready for review |  | See CA 1 & 2 Folder 2020
CA.02 | CA2 | The Digiplex Code of Business Principles reflect a commitment to integrity and ethical business practices and regulatory compliance. They summarize the principles and policies that guide Digiplex’s business activities and communicated to all employees via or Internet. | 1. Code of Business Principles 2. Screenshot of the Code of Business Principles being communicated to employees through SharePoint | Ready for review |  | See CA 1 & 2 Folder 2020
CA.03 | CA3 | Digiplex has established management reporting lines with defined organization structure for governance. | 1. Organizational Chart 2. Information Security Manual 3. Evidence of organization chart and information security manual being communicated to employees | Ready for review |  | 3. screen shot in CA4
CA.04 | CA4 | Digiplex has established a formal process to communicate internal control responsibilities to all employees. | 1. Information Security Manual 2. Screenshot/document showing communication of manual to all employees | Ready for review |  | 2. screen shot in CA4
CA.05 | CA5 | Digiplex has established a whistle blower hotline enabling anonymous and confidential communication. | 1. Whistle blower policy 2. Evidence showing channels of communication of ISMS policies to all employees | Ready for review
CA.06 | CA6 | Digiplex management has established a Balanced Scorecard to reflect business objectives, structure and processes. | 1. Screenshot of balance scorecard 2. Document explaining the KPI's included in the scorecard (to see if it reflects business objectives, structure and processes) 3. Objective Target Setting & Review | Partially reveived |  | 1. Digiplex uses a Game plan for our balanced scorecard approach see CA 6 2 Process uploaded | Missing per 23.10.2020: Evidence of balanced scorecard performed
CA.07 | CA7 | Digiplex has defined and documented roles and responsibilities for each level within the organization structure and the same is communicated to the employees | 1. Organizational Chart 2. Information Security Manual 3. Evidence of organization chart and information security manual being communicated to employees | Ready for review
CA.08 | CA8 | Employees are required to sign Confidentiality Agreements consisting of Non-Disclosure Agreements (NDA), and duties of insider information. | 1. List of new joiners from 01.01.2020 - 30.10.2020 from HR Samples will be selected post receipt of population - Marie Borchsenius - Wiljar Inge Nesse - Tore Amundsen - Natalia Dahl - Kirsti Homme - Per Aksel Westby 2. Signed Confidentiality Agreement (consisting of NDA and duties of insider information for the sample new joiners | Ready for review
CA.09 | CA9 | Disciplinary action is taken against Associates for violating Security Policy based on disciplinary procedures documented as part of the Information security policy . | 1. Information Security Manual 2. List of incidents of violations from 01.01.2020 - 30.10.2020, if any. Please confirm if there were no such incidents for 2020 3. Evidence of diciplinary actions being taken for sample incidents 4. Document: HR Procedure | Ready for review |  | 4. HR Procedure See CA8 This comment from 2020 for not disciplinaries
CA.10 | CA10 | Background checks are carried out for employees at the time joining as per defined company procedures. | 1. List of new joiners from 01.01.2020 - 30.10.2020 from HR Samples will be selected post receipt of population - Marie Borchsenius - Wiljar Inge Nesse - Tore Amundsen - Natalia Dahl - Kirsti Homme - Per Aksel Westby 2. Evidence of background checks being performed on sample new joiners | Ready for review
CA.11 | CA11 | Digiplex has established procedures for responding to security incidents and periodic evaluation of these procedures. | 1. Incident Management 2. Incident Priority Levels 3. Major Incident Plan 4. Information Security Manual | Ready for review
CA.12 | CA12 | Digiplex has established roles and responsibilities for the design, implementation, maintenance, and execution of the incident response procedures, including the use of external resources when necessary | 1. Incident Response Procedure | Ready for review
CA.13 | CA13 | Procedure to classify incidents as problems have been defined and documented and a root cause analysis for problems is documented. | 1. Incident Classification Procedure 2. Incident Management 3. Major Incident Plan 4. Information Security Manual | Ready for review |  | See CA 11
CA.14 | CA14 | Digiplex' governing documents are documented, maintained and communicated in Digiplex’s Information Security Management System (ISMS). The following governing documents are revised at least annually and approved by management, and authorized by CEO or COO: • Information Security policy statement • Information Security Manual • Legal register • Business continuity policy statement • Business continuity manual • Crisis communication Plan • Site business continuity plan • Risk management, Asset risk register | 1. Screenshot of DigiPlex' governing documents communicated on ISMS. 2. Evidence of the following documents being approved and revised annually: - Information Security Policy Statements - Information Security Manual - Legal Register - Business Continuity Policy Statement - Business Continuity Manual - Crisis communication plan - Site business continuity plan - Risk Management, asset risk register 3. Document register | Ready for review | Steven | See CA 14 Site Business Continuity Plan for all the sites (DNAS, DRAS, DS1) | Received Site business continuity plan for DFAS. Missing per 19.10.2020: Require Site Business Continuity Plan for all the sites (DNAS, DRAS, DS1)
CA.15 | CA15 | Digiplex has identified and manages an inventory/ overview of information assets. | 1. Asset inventory register containing details of all assets in the data centre premises 2. Guidance on Asset Identification & Risk Management | Ready for review | Steven | See CA49 as evidence Asset inventory reigster for DFAS, DNAS, DRAS | Received asset inventory for DS1. Missing per 19.10.2020: Asset inventory reigster for DFAS, DNAS, DRAS
CA.38 | CA49 | Digiplex's risk identification and assessment process includes (1) identifying information assets (physical), (2) assessing the criticality of those information assets, (3) identifying the threats to the assets (intentional, unintentional and environmental), and (4) identifying the vulnerabilities of the identified assets. | 1. Risk management policy (Procedure on Risk & Opportunity Management) 2. Document of the risk assessment process 3. Risk assessment performed for the year 2020 4. Risk Opportunity register 5. Notes from High Risk Review - NA 6. Management review year wheel - NA | Ready for review | Steven | See CA 49 Folder 2020 for Presentation from High Risk Review, Management review year wheel- just awaiting notes | Missing per 19.10.2020: Notes from High Risk Review, Management review year wheel
CA.39 | CA51 | Risks identified during risk assessment are documented and mitigating procedures are initiated. | 1. Asset Risk Register- 2. List of mitigating actions initiated as a result of risk assessment for the year 2020 3. Procedure on Risk & Oppportunity Management 4. Guidance on Asset Identnification & Risk Management | Ready for review | Steven | See CA 47 1. Asset Register is the other tab in DS1 Risk Register | Received risk register for DS1. See 38.02 Risk Management (3.) Missing per 19.10.2020: Require risk register for all the sites (DFAS, DNAS, DRAS)
CA.40 | CA52 | Security requirements for the subcontractors are agreed in service agreements, which include statements on the rights and obligations of both parties and a confidentiality agreement, if there is a possibility that the subcontractor personnel can see confidential information. | 1. List of subcontractors from 01.01.2020 - 31.12.2020 1.1 Screenshot of how list is extracted Samples will be selected post receipt of population 2. Service agreements for the sample subcontractors ABB AS GK Inneklima AS GK Sikkerhet AS (former Jotel AS) Honeywell Life Safety AS HYPOXIC TECHNOLOGIES AS Mnemonic Munters Europe AB Nokas AS Nortronik AS Nuvolo Pingvinklima AS Pon Power AS Schneider Electric Norge AS Stanley Security Syscom AS It-Total AB | Received | Steven | See CA52 extract todat uploaded | Missing per 19.10.2020: - Screenshot of how list is extracted - Service agreements for samples selected Need to select samples and ask for evidence of samples selected Testing in process
CA.41 | CA53 | The Supplier Code of Practice reflects what expectations Digiplex requires from outsources service providers with regard to integrity and ethical business practices | 1. Supplier Code of Practice 2. Screenshot showing that the supplier code of practice is communciated | Ready for review |  | See CA 53
CA.42 | CA54 | Digiplex has established and documented a change management process which is approved as per change policy. Changes are raised, classified, tracked and approved in Service Now ticketing system. | 1. Change management policy 2. List of changes during 2020 for all 4 locations 3. Sample changes to be selected and ServiceNow tickets will be asked later Samples selection: - CHG0031884 - CHG0031053 - CHG0031652 - CHG0031847 - CHG0031638 - CHG0031716 - CHG0031841 - CHG0031982 - CHG0031782 - CHG0031625 - CHG0031627 - CHG0031852 - CHG0031916 - CHG0031949 - CHG0031837 - CHG0031882 | Ready for review | Steve |  | Missing per 26.19.2020: Missing an answer on request to Karl Audun Lad for CHG0031652
CA.43 | CA55 | Digiplex has established and documented Business Continuity and Disaster Recovery plan | 1. Document Control and Record Sheet 2. Business Continuity Statement 3. Crisis Management Plan | Ready for review
CA.44 | CA56 | Digiplex has implemented testing of the Business Continuity Plan, this is performed on a periodic basis. The testing includes (1) development of testing scenarios based on threat likelihood and magnitude; (2) consideration of system components from across the entity that can impair the availability; (3) scenarios that consider the potential for the lack of availability of key personnel; and (4) revision of continuity plans and systems based on test results. | 1. Disaster recovery mock drill schedule and disaster recovery reports for all 4 locations | Ready for review | Steven | See CA -55 presenations uploaded | Missing per 19.10.2020: Disaster recovery drill schedule and disaster recovery reports for all 4 locations (DNAS, DRAS, DFAS, DS1) Can you please share the periodic updates presentations that were showed in the meeting?

## DNAS
Control Number | Control Activity # | Requirements | Status | Responsible | Digiplex Comments | Deloitte Comments
CA.16 | Digiplex has implemented detection measures to identify anomalies that could result from failure of environmental control systems, failure of electrical/power supply, fire, and water damage. | 1. Screenshot of monitoring consoles/ dashboard for systems installed to monitor anomalies such as excessive heat in the aisles, water leakage, electricity fluctuations, battery leakage, etc. | Ready for review |  | We have a BMS system that have a lot of dashboards and also are sending out any alarms based on category (priority). Examples uploaded. Capacity planning is done in the PMS based on highly flexible dashboards based on a datalake from meters. Capacity vs. actuals are also reported to clients based on the same. Examples attached.
CA.17 | Digiplex operations team monitors and evaluates current processing capacity and use of system components on a continuous basis. Alerts are triggered when capacity thresholds are reached and mitigating actions are initiated. | 1. Screenshot of capacity management console/ dashboard/ monitoring system 2. Screenshot of the alerts configured to raise alarms in case of anomalies | Ready for review |  | We have a BMS system that have a lot of dashboards and also are sending out any alarms based on category (priority). Alarms are configured where relevant for all inputs. Example attached.
CA.18 | Appropriate fire detection & suppression systems are in implemented at data centres. Fire detection and suppression systems are covered under annual maintenance contract with respective vendors. | 1. Details about fire suppression and fire detection system installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider - Fire detection - Fire suppression (Same as DRAS) | Ready for review | Geir |  | Pleaser refer tab 'DNAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.19 | Fire detection and suppression systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2020 - Fire detection - Fire suppression | Ready for review | Geir |  | Pleaser refer tab 'DNAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.20 | Appropriate HVAC controls are in place to maintain heat, ventilation and air conditioning in the data centre. Temperature controls & monitoring is in place HVAC systems are covered under annual maintenance contract with respective vendors. | 1. Details about HVAC system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Pending | Geir |  | Pleaser refer tab 'DNAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.21 | HVAC systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2020 for HVAC systems | Pending | Geir |  | Pleaser refer tab 'DNAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.22 | Uninterrupted Power System (UPS) and DGs are installed at the primary and secondary data centre facilities to provide uninterrupted power supply and ensure backup whenever there are any power interruptions. UPS and DGs is covered under annual maintenance contract with respective vendors. | 1. Details about UPS and DG system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider - UPS - DG | Ready for review | Geir |  | Pleaser refer tab 'DNAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.23 | UPS and DGs are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for UPS and DG the review period (1.1.2020 to 31.10.2020) | Ready for review | Geir |  | Pleaser refer tab 'DNAS List of Equipment' for name of the equipment and their respective maintenance vendor For UPS the contract is in the DRAS folder.
CA.24 | Server rooms are constructed to protect server room equipment from environmental threats, e.g. overheating, power outage and excessive moisture: - Raised access floors and adequate leak detection systems - Different fire zones, the server rooms are their own fire zone | To be inspected on site | Ready for review | N/A
CA.25 | Closed Circuit Television (CCTV) systems are installed at strategic locations at the entry and exit points of the data centre facilities to record all the events. The CCTV systems are continuously monitored by the Physical Security team. The CCTV equipment is maintained on a regular basis. | To be inspected on site 2. Maintenance reports and contract for CCTV | Ready for review | Geir
CA.26 | There are no windows or skylights in server rooms. All other openings (e.g. ventilation) are properly blocked or locked. | To be inspected on site | Ready for review | N/A
CA.27 | The data centres are equipped with access control and alarm systems in order to detect unauthorized access to the data centre premises. | To be inspected on site | Ready for review | N/A
CA.28 | The access control and alarm systems are regularly maintained as per defined scheduled. | 1. Copy of the annual maintenance contract with vendor/ service provider - GK Contract - Nokas Invoice 2. Preventive maintenance schedule and preventive maintenance reports for the year 2020 3. Test results for mock tests performed on the alarm system during the year 2020 | Partially received | Pete | Security Systems annual mainteneace is scheduled for Dec 2020. DEC 2019 service report is available
CA.29 | Digiplex has established and documented procedures for access creation and revocation to the data centre facilities as per 'Security Manual' | 1. DigiPlex Access management policies | Ready for review
CA.30 | Access to data centre facilities is revoked on the last working day of resigned/terminated employee. Customer access is revoked based on intimation from authorized customer personnel through ticket in Service Now. | 1. List of deactivated access from access control system during the year 2020 with the date and time of access deactivation Samples will be selected post receipt of population | Ready for review | Pete
CA.31 | Digiplex has processes in place to periodically review physical access to ensure consistency with job responsibilities. | 1. User access review process document/ SOP 2. Evidnece to demonstrate that user access review was performed as per periodicity for the year 2020 - List of Access Cards | Partially received | Pete |  | User access review process document/ SOP is corrupt (just demands Adobe) Please resend file.
CA.32 | Two factor authentication mechanism is established to access the data centre. E.g. swipe card and biometric or Proximity and biometric based access control systems | To be inspected on site | Ready for review | N/A
CA.33 | The data centre facilities are manned by trained Security Guards round the clock, for restricting access to authorized individuals. | To be inspected on site | Ready for review | N/A
CA.34 | Entry and exit details of the visitors accessing the data centre facilities are logged and documented. Access to visitors is granted only after obtaining appropriate approvals from designated personnel in the management All visitors must be escorted by an authorized personnel while on the premises. | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data centre for maintenance purposes (from the access control system) You can also provide a complete list of users from the access control system with their classification (vendor, customer, DigiPlex employee, etc. ) and we can select samples from it accordingly. 4. Visitor register for the year 2020 Samples for visitors and vendors to be selected after receipt of the population | Partially received | Pete
CA.35 | Movements of materials within the data centre is monitored and tracked, logged and only permitted with proper authorization | 1. SOP/ Procedure document describe the process of movement of materials 2. Goods Movement register for the year 2020 | Received | N/A
CA.36 | Access to data centre facilities is granted to Digiplex employees based on approvals as per the access management procedures. Access to customers is granted based on approvals from authorized customer personnel through tickets documented in Service Now. | 1. List of authorized individuals who can access the data centre from the access control system with classification (employee, customer, vendor, etc.) 2. Samples to be selected after receipt of the entire list of users mentioned in point #1 | Partially received | Pete
CA.37 | There are formal processes for managing and controlling access to mechanical keys including: - Mechanical keys are kept in a hidden and physical secured lockbox at each location (separate systems) - Access to mechanical keys are restricted to a limited number of authorized personnel. Access to specific keys is granted based on needs - Code and fingerprint are required to gain access to lockbox | To be inspected on site | Ready for review | N/A

## DNAS List of Equipment
List of Equipment
| Ulven - DNAS (to be provided by Geir) | [5 empty] | Deloitte comments
| Type | Serviced by | AMC Period |  | Maintenance Frequency & Reports
|  |  | Valid from | Valid till | Frequency | Report
UPS1 | Schneider | Schneider |  |  | Annual
UPS2 | Aktiv Power | Aktiv Power |  |  | Annual
DG | MTU | BOS Tech/ Hedmark Services |  |  | Pending
Chiller (HVAC) | Schneider | Schneider |  |  | Pending
CCTV | Milestone | Stanley |  |  | Pending
Fire detection |  | Honeywell
Fire Suppression | Inergen & Novec | Nortronic | 2018-11-19 | 2021-11-19 | Annual | ok | Valid for 3 years, and the contract are then renewed one year et a time
Access Control | Thorguard | Jotel (Now GK Norge) | 2019-02-21 |  | Annual |  | Confirmed valid for 2020
Fire Extinguishers | - | Aktiv Brannvern AS |  |  | Pending
BMS (Monitoring System) | Siemens | Blue Yonder |  |  | Annual

## DRAS
Control Number | Control Activity # | Requirements | Status | Responsible | Digiplex Comments | Deloitte Comments
CA.16 | Digiplex has implemented detection measures to identify anomalies that could result from failure of environmental control systems, failure of electrical/power supply, fire, and water damage. | 1. Screenshot of monitoring consoles/ dashboard for systems installed to monitor anomalies such as excessive heat in the aisles, water leakage, electricity fluctuations, battery leakage, etc. | Ready for review
CA.17 | Digiplex operations team monitors and evaluates current processing capacity and use of system components on a continuous basis. Alerts are triggered when capacity thresholds are reached and mitigating actions are initiated. | 1. Screenshot of capacity management console/ dashboard/ monitoring system 2. Screenshot of the alerts configured to raise alarms in case of anomalies | Ready for review
CA.18 | Appropriate fire detection & suppression systems are in implemented at data centres. Fire detection and suppression systems are covered under annual maintenance contract with respective vendors. | 1. Details about fire suppression system installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider - Fire suppression - Fire detection/alarms | Ready for review |  | Reports from 2019 uploaded. (12.2019) Loaded in CA18 Steve | Pleaser refer tab 'DRAS List of Equipment' for name of the equipment and their respective maintenance vendor Missing per 19.10.2020: - Maintenance contract for Fire detection systems (fire alarms)
CA.19 | Fire detection and suppression systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2020 - Kontrollrapport / Idriftsettelse Slokkeanlegg 2019 (12.12) - Honeywell reports | Ready for review | Anders | Report from first service of 2020 uploaded. Second service visit in nov-des. Link to supplier contract in next tab. | Pleaser refer tab 'DRAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.20 | Appropriate HVAC controls are in place to maintain heat, ventilation and air conditioning in the data centre. Temperature controls & monitoring is in place HVAC systems are covered under annual maintenance contract with respective vendors. | 1. Details about hvac system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Ready for review | Anders | Loaded in CA20- Steve | Pleaser refer tab 'DRAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.21 | HVAC systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2020 | Ready for review |  | Service from first service in 2020 uploaded. Second service visit in nov. | Pleaser refer tab 'DRAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.22 | Uninterrupted Power System (UPS) and DGs are installed at the primary and secondary data centre facilities to provide uninterrupted power supply and ensure backup whenever there are any power interruptions. UPS and DGs is covered under annual maintenance contract with respective vendors. | 1. Details about UPS system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Ready for review | Anders | Uploaded in CA23 steve | Pleaser refer tab 'DRAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.23 | UPS and DGs are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2020 - UPS - DG | Ready for review | Anders | Service report from 2019 uploaded. (11.2019) Service for 2020 in nov-des. | Pleaser refer tab 'DRAS List of Equipment' for name of the equipment and their respective maintenance vendor Missing per 19.10.2020: - Maintenance report for DG
CA.24 | Server rooms are constructed to protect server room equipment from environmental threats, e.g. overheating, power outage and excessive moisture: - Raised access floors and adequate leak detection systems - Different fire zones, the server rooms are their own fire zone | To be inspected on site | Ready for review | N/A
CA.25 | Closed Circuit Television (CCTV) systems are installed at strategic locations at the entry and exit points of the data centre facilities to record all the events. The CCTV systems are continuously monitored by the Physical Security team. The CCTV equipment is maintained on a regular basis. | To be inspected on site 2. Maintenance reports and contract for CCTV | Ready for review | Pete | Service report from 2019 uploaded. | Missing per 19.10.2020: - Maintenance reports and maintenance contract for CCTV
CA.26 | There are no windows or skylights in server rooms. All other openings (e.g. ventilation) are properly blocked or locked. | To be inspected on site | Ready for review | N/A
CA.27 | The data centres are equipped with access control and alarm systems in order to detect unauthorized access to the data centre premises. | To be inspected on site | Ready for review | N/A
CA.28 | The access control and alarm systems are regularly maintained as per defined scheduled. | 1. Copy of the annual maintenance contract with vendor/ service provider - Stanley security contract 2. Preventive maintenance schedule and preventive maintenance reports for the year 2020 3. Test results for mock tests performed on the alarm system during the year 2020 | Ready for review | Pete | From Pete: CCTV and Access Control System PPM visits are scheduled for December each year. The most recent service visits for DNAS,DRAS,DRAS and DS1 took place in December 2019. Those records have been uploaded to the relevant CA28 folder for each site. | Missing per 19.10.2020: - Preventive maintenance schedule and preventive maintenance reports for 2020 - Test results for mock tests perfomed on the alarm system during 2020
CA.29 | Digiplex has established and documented procedures for access creation and revocation to the data centre facilities as per 'Security Manual' | 1. DigiPlex Access management policies | Ready for review
CA.30 | Access to data centre facilities is revoked on the last working day of resigned/terminated employee. Customer access is revoked based on intimation from authorized customer personnel through ticket in Service Now. | 1. List of deactivated access from access control system during the year 2020 with the date and time of access deactivation Samples will be selected post receipt of population | Ready for review | Pete |  | Missing per 19.10.2020: - List of deactived access from access control systems during the year 2020 with date and time of access deactivation - Select samples for leavers of the organization
CA.31 | Digiplex has processes in place to periodically review physical access to ensure consistency with job responsibilities. | 1. User access review process document/ SOP 2. Evidnece to demonstrate that user access review was performed as per periodicity for the year 2020 - List of Access Cards | Partially received | Pete |  | Missing per 19.10.2020: - User access review process document/SOP - Evidence to demonstrate that user access review was performed as per periodicity for the year 2020.
CA.32 | Two factor authentication mechanism is established to access the data centre. E.g. swipe card and biometric or Proximity and biometric based access control systems | To be inspected on site | Ready for review | N/A
CA.33 | The data centre facilities are manned by trained Security Guards round the clock, for restricting access to authorized individuals. | To be inspected on site | Ready for review | N/A
CA.34 | Entry and exit details of the visitors accessing the data centre facilities are logged and documented. Access to visitors is granted only after obtaining appropriate approvals from designated personnel in the management All visitors must be escorted by an authorized personnel while on the premises. | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data centre for maintenance purposes (from the access control system) You can also provide a complete list of users from the access control system with their classification (vendor, customer, DigiPlex employee, etc. ) and we can select samples from it accordingly. 4. Visitor register for the year 2020 Samples for visitors and vendors to be selected after receipt of the population | Partially received | Pete |  | Missing per 19.10.2020: - Visitor access policy - Vendor access policy - List of vendor users who are authorized to access data centre for maintenance purposes Visitor register for the review period (1.1.2020 - 31.10.2020)
CA.35 | Movements of materials within the data centre is monitored and tracked, logged and only permitted with proper authorization | 1. SOP/ Procedure document describe the process of movement of materials 2. Goods Movement register for the year 2020 | Received | N/A |  | Missing per 19.10.2020: - SOP/Procedure document describe the process of movement of materials - Goods movement register for the review period (1.1.2020 - 31.10.2020)
CA.36 | Access to data centre facilities is granted to Digiplex employees based on approvals as per the access management procedures. Access to customers is granted based on approvals from authorized customer personnel through tickets documented in Service Now. | 1. List of authorized individuals who can access the data centre from the access control system with classification (employee, customer, vendor, etc.) 2. Samples to be selected after receipt of the entire list of users mentioned in point #1 | Partially received | Pete |  | Missing per 19.10.2020: - List of authorized individuals who can access the data centre from the access control system with classification - Samples to be selected after receipt of the entire list of users mentioned in point #1
CA.37 | There are formal processes for managing and controlling access to mechanical keys including: - Mechanical keys are kept in a hidden and physical secured lockbox at each location (separate systems) - Access to mechanical keys are restricted to a limited number of authorized personnel. Access to specific keys is granted based on needs - Code and fingerprint are required to gain access to lockbox | To be inspected on site | Ready for review | N/A
Note on F4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Within audit period (12.12.2019)
Note on G11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Report sufficient? (Date)

## DRAS List of Equipment
List of equipment
| Rosenholm - DRAS (to be provided by Geir) | [6 empty] | Deloitte comments
| Type | Serviced by |  | AMC Period |  | Maintenance Frequency & Reports
|  |  |  | Valid from | Valid till | Frequency | Report
UPS1 | Schneider | Schneider | https://digiplex.sharepoint.com/:f:/s/Intranet/contracts/EkiIbpmn-t1AumQZhaDlg1cBaTSQXF3h3CfWlylVwcjmfg | 2018-07-01 | Annual renewal, contract confirmed still valid for 2020 | Annual | ok | Annual renewal
DG | Caterpillar | Pon Power | https://digiplex.sharepoint.com/:f:/s/Intranet/contracts/Eh770YqRM95EhBk1uzRiVJ8B1qCM73wOLAx2NDHaswgSmw | 2016-08-26 | 2021-08-26 | Three times a year
Chiller (HVAC) | BAC Dry Coolers | Self maintained |  | - | - | Annual
Chiller CCU | Stulz | Pingvin Klima AS | https://digiplex.sharepoint.com/:f:/s/Intranet/contracts/EpokJS3EeyFFipEPGEN0ifIBbYmQwsBr4U4scHCG6wLFpA | 2018-11-12 | Termination | Twice a year
CCTV | Milestone | Stanley | https://digiplex.sharepoint.com/:f:/s/Intranet/contracts/EqohzE0LErpAvx98Cs_DCXABFstK827W85uDyUtM0WQ-tw |  |  | Annual
Fire Detection (Alarm) | Honeywell | Honeywell | https://digiplex.sharepoint.com/:f:/s/Intranet/contracts/EkT4WIGzsXFJoGdLlqXSPREBpVoCk99eqZUrvCW4FlFQ9A | 2015-01-01 | Termination | Annual | ok
Fire Suppression | Inergen & Novec | Nortronik | https://digiplex.sharepoint.com/:f:/s/Intranet/contracts/EqcpnNMD4tpBvTtXqGE_4a8BjyholhGi1q0UlAVcTnpunw | 2018-11-19 | 2021-11-19 | Annual | ok | Valid for 3 years, and the contract are then renewed one year et a time
Access Control | Stanley Security Manager | Stanley | https://digiplex.sharepoint.com/:f:/s/Intranet/contracts/EqohzE0LErpAvx98Cs_DCXABFstK827W85uDyUtM0WQ-tw |  |  | Annual
Fire Extinguishers | - | Aktiv Brannvern AS | No service contract |  |  | Annual
BMS (Monitoring System) | Siemens | Blue Yonder | https://digiplex.sharepoint.com/:f:/s/Intranet/contracts/EjYm4ui_WsVBuyEpFSHz8uQBQvZQ3-jgGCPOiTYOHTieAA |  |  | Semi Anually

## DFAS
Control Number | Control Activity # | Requirements | Status | Responsible | Digiplex Comments | Deloitte Comments
CA.16 | Digiplex has implemented detection measures to identify anomalies that could result from failure of environmental control systems, failure of electrical/power supply, fire, and water damage. | 1. Screenshot of monitoring consoles/ dashboard for systems installed to monitor anomalies such as excessive heat in the aisles, water leakage, electricity fluctuations, battery leakage, etc. | Ready for review |  | Uploaded evidence files to folder. No relevant leak detection systems at DFAS
CA.17 | Digiplex operations team monitors and evaluates current processing capacity and use of system components on a continuous basis. Alerts are triggered when capacity thresholds are reached and mitigating actions are initiated. | 1. Screenshot of capacity management console/ dashboard/ monitoring system 2. Screenshot of the alerts configured to raise alarms in case of anomalies | Ready for review |  | Uploaded evidence files to folder.
CA.18 | Appropriate fire detection & suppression systems are in implemented at data centres. Fire detection and suppression systems are covered under annual maintenance contract with respective vendors. | 1. Details about fire suppression system installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider - Fire suppression --> Aktiv Brannvern & Hypoxic - Fire detection (alarms) --> GK Inneklima | Ready for review |  |  | Pleaser refer tab 'DFAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.19 | Fire detection and suppression systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2020 for fire supression and fire detection systems - Honeywell (GK) - Aktiv Brannvern (12.2019) - Hypoxic | Ready for review |  | Service report from 2019 uploaded. Service for 2020 in nov-des.
CA.20 | Appropriate HVAC controls are in place to maintain heat, ventilation and air conditioning in the data centre. Temperature controls & monitoring is in place HVAC systems are covered under annual maintenance contract with respective vendors. | 1. Details about hvac system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Ready for review |  |  | On Teams Sample maintenance reports?
CA.21 | HVAC systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2020 for HVAC systems | Ready for review
CA.22 | Uninterrupted Power System (UPS) and DGs are installed at the primary and secondary data centre facilities to provide uninterrupted power supply and ensure backup whenever there are any power interruptions. UPS and DGs is covered under annual maintenance contract with respective vendors. | 1. Details about UPS and DG system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider - UPS - DG | Ready for review |  |  | Pleaser refer tab 'DFAS List of Equipment' for name of the equipment and their respective maintenance vendor
CA.23 | UPS and DGs are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for UPS and DG the review period (01.01.2020 to 31.10.2020) | Ready for review |  |  | On Teams Sample maintenance reports?
CA.24 | Server rooms are constructed to protect server room equipment from environmental threats, e.g. overheating, power outage and excessive moisture: - Raised access floors and adequate leak detection systems - Different fire zones, the server rooms are their own fire zone | To be inspected on site | Ready for review
CA.25 | Closed Circuit Television (CCTV) systems are installed at strategic locations at the entry and exit points of the data centre facilities to record all the events. The CCTV systems are continuously monitored by the Physical Security team. The CCTV equipment is maintained on a regular basis. | To be inspected on site 2. Maintenance reports and contract for CCTV | Partially received |  | Service report from 2019 uploaded.
CA.26 | There are no windows or skylights in server rooms. All other openings (e.g. ventilation) are properly blocked or locked. | To be inspected on site | Ready for review
CA.27 | The data centres are equipped with access control and alarm systems in order to detect unauthorized access to the data centre premises. | To be inspected on site | Ready for review
CA.28 | The access control and alarm systems are regularly maintained as per defined scheduled. | 1. Copy of the annual maintenance contract with vendor/ service provider - Stanley security contract 2. Preventive maintenance schedule and preventive maintenance reports for the year 2020 3. Test results for mock tests performed on the alarm system during the year 2020 | Ready for review |  | Service report from 2019 uploaded. (11.2019)
CA.29 | Digiplex has established and documented procedures for access creation and revocation to the data centre facilities as per 'Security Manual' | 1. DigiPlex Access management policies | Ready for review
CA.30 | Access to data centre facilities is revoked on the last working day of resigned/terminated employee. Customer access is revoked based on intimation from authorized customer personnel through ticket in Service Now. | 1. List of deactivated access from access control system during the year 2020 with the date and time of access deactivation Samples will be selected post receipt of population | Ready for review
CA.31 | Digiplex has processes in place to periodically review physical access to ensure consistency with job responsibilities. | 1. User access review process document/ SOP 2. Evidnece to demonstrate that user access review was performed as per periodicity for the year 2020 - List of Access Cards | Partially received | Pete
CA.32 | Two factor authentication mechanism is established to access the data centre. E.g. swipe card and biometric or Proximity and biometric based access control systems | To be inspected on site | Ready for review
CA.33 | The data centre facilities are manned by trained Security Guards round the clock, for restricting access to authorized individuals. | To be inspected on site | Ready for review
CA.34 | Entry and exit details of the visitors accessing the data centre facilities are logged and documented. Access to visitors is granted only after obtaining appropriate approvals from designated personnel in the management All visitors must be escorted by an authorized personnel while on the premises. | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data centre for maintenance purposes (from the access control system) You can also provide a complete list of users from the access control system with their classification (vendor, customer, DigiPlex employee, etc. ) and we can select samples from it accordingly. 4. Visitor register for the year 2020 Samples for visitors and vendors to be selected after receipt of the population | Partially received | Pete
CA.35 | Movements of materials within the data centre is monitored and tracked, logged and only permitted with proper authorization | 1. SOP/ Procedure document describe the process of movement of materials 2. Goods Movement register for the year 2020 | Received
CA.36 | Access to data centre facilities is granted to Digiplex employees based on approvals as per the access management procedures. Access to customers is granted based on approvals from authorized customer personnel through tickets documented in Service Now. | 1. List of authorized individuals who can access the data centre from the access control system with classification (employee, customer, vendor, etc.) 2. Samples to be selected after receipt of the entire list of users mentioned in point #1 | Partially received | Pete
CA.37 | There are formal processes for managing and controlling access to mechanical keys including: - Mechanical keys are kept in a hidden and physical secured lockbox at each location (separate systems) - Access to mechanical keys are restricted to a limited number of authorized personnel. Access to specific keys is granted based on needs - Code and fingerprint are required to gain access to lockbox | To be inspected on site | Ready for review | N/A

## DFAS List of Equipment
List of Equipment
| Fetsund - DFAS | [5 empty] | Deloitte comments
| Type | Serviced by | AMC Period |  | Maintenance Frequency & Reports
|  |  | Valid from | Valid till | Frequency | Report
UPS1 | ABB | ABB | 2015-06-15 | Termination | Annual
DG | Caterpillars | PonCat | 2020-03-27 | Three years | Bi-Annual
Chiller (HVAC) | Munters units | Ateam / GK | 2015-12-01 | Termination | Annual
CCTV | Milestone | Stanley | 2015-01-16 | Termination | Annual
Fire Detection |  | Honeywell/GK | 2019-04-11 | Termination | Annual
Hypoxic | Hypoxic | Hypoxic | 2015-10-28 | Termination | Every three months
Access Control | Stanley Security Manager | Stanley |  |  | Pending
Fire Extinguishers |  | Aktiv Brannvern | 2016-01-15 | Termination | Pending
BMS (Monitoring System) | Siemens | Blue Yonder |  |  | Pending
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Major (Annual) & Minor (6 months after Major)

## DS1
Control Number | Control Activity # | Requirements | Status | Responsible | Digiplex Comments | Deloitte Comments
CA.16 | Digiplex has implemented detection measures to identify anomalies that could result from failure of environmental control systems, failure of electrical/power supply, fire, and water damage. | 1. Screenshot of monitoring consoles/ dashboard for systems installed to monitor anomalies such as excessive heat in the aisles, water leakage, electricity fluctuations, battery leakage, etc. | Ready for review |  | Screenshots of data hall monitoring, cooling system, leak detection and genset monitoring uploaded.
CA.17 | Digiplex operations team monitors and evaluates current processing capacity and use of system components on a continuous basis. Alerts are triggered when capacity thresholds are reached and mitigating actions are initiated. | 1. Screenshot of capacity management console/ dashboard/ monitoring system 2. Screenshot of the alerts configured to raise alarms in case of anomalies | Ready for review |  | Screenshots of breaker, UPS and power monitoring uploaded.
CA.18 | Appropriate fire detection & suppression systems are in implemented at data centres. Fire detection and suppression systems are covered under annual maintenance contract with respective vendors. | 1. Details about fire suppression system installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Ready for review |  | Contracts for both fire alarm and gas suppression systems uploaded. | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor
CA.19 | Fire detection and suppression systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2020 | Ready for review |  | 2020 maintenance reportes uploaded.
CA.20 | Appropriate HVAC controls are in place to maintain heat, ventilation and air conditioning in the data centre. Temperature controls & monitoring is in place HVAC systems are covered under annual maintenance contract with respective vendors. | 1. Details about hvac system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Ready for review |  | Copy of maintenance contracts uploaded. | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor
CA.21 | HVAC systems are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2020 | Ready for review |  | Service report for 2019 uploaded. 2020 booked for weeks 44-45. | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor
CA.22 | Uninterrupted Power System (UPS) and DGs are installed at the primary and secondary data centre facilities to provide uninterrupted power supply and ensure backup whenever there are any power interruptions. UPS and DGs is covered under annual maintenance contract with respective vendors. | 1. Details about UPS system/s installed (type, make, model, warranty, etc. ) 2. Copy of the annual maintenance contract with vendor/ service provider | Ready for review |  | UPS and Generator maintenance contracts uploaded. | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor
CA.23 | UPS and DGs are maintained as per the established maintenance schedule | 1. Preventive maintenance schedule and preventive maintenance reports for the year 2020 | Partially received |  | UPS - Maintenance report for 2019 uploaded. 2020 booked for week 46. Generator service reports for 2020 uploaded. CA21 HVAC) will be done next week. CA23 (UPS) will be done 9-15 november. - Christian Eghult 26.10.2020 | Pleaser refer tab 'DS1 List of Equipment' for name of the equipment and their respective maintenance vendor
CA.24 | Server rooms are constructed to protect server room equipment from environmental threats, e.g. overheating, power outage and excessive moisture: - Raised access floors and adequate leak detection systems - Different fire zones, the server rooms are their own fire zone | To be inspected on site | Ready for review
CA.25 | Closed Circuit Television (CCTV) systems are installed at strategic locations at the entry and exit points of the data centre facilities to record all the events. The CCTV systems are continuously monitored by the Physical Security team. The CCTV equipment is maintained on a regular basis. | To be inspected on site 2. Maintenance reports and contract | Ready for review |  | Maintenance contract and last years report uploaded. This years annual inspection is currently taking place and has not yet generated a maintenance report.
CA.26 | There are no windows or skylights in server rooms. All other openings (e.g. ventilation) are properly blocked or locked. | To be inspected on site | Ready for review
CA.27 | The data centres are equipped with access control and alarm systems in order to detect unauthorized access to the data centre premises. | To be inspected on site | Ready for review
CA.28 | The access control and alarm systems are regularly maintained as per defined scheduled. | 1. Copy of the annual maintenance contract with vendor/ service provider - Stanley security contract 2. Preventive maintenance schedule and preventive maintenance reports for the year 2020 3. Test results for mock tests performed on the alarm system during the year 2020 | Ready for review
CA.29 | Digiplex has established and documented procedures for access creation and revocation to the data centre facilities as per 'Security Manual' | 1. DigiPlex Access management policies | Ready for review
CA.30 | Access to data centre facilities is revoked on the last working day of resigned/terminated employee. Customer access is revoked based on intimation from authorized customer personnel through ticket in Service Now. | 1. List of deactivated access from access control system during the year 2020 with the date and time of access deactivation Samples will be selected post receipt of population | Ready for review |  |  | Missing per 19.10.2020: - List of deactived access from access control systems during the review period (1.1.2020 - 31.10.2020) with date and time of access deactivation - Select samples for leavers of the organization
CA.31 | Digiplex has processes in place to periodically review physical access to ensure consistency with job responsibilities. | 1. User access review process document/ SOP 2. Evidnece to demonstrate that user access review was performed as per periodicity for the year 2020 - List of Access Cards | Partially received | Pete |  | Missing per 19.10.2020: - User access review process document/SOP - Evidence to demonstrate that user access review was performed as per periodicity for the review period (1.1.2020 - 31.10.2020)
CA.32 | Two factor authentication mechanism is established to access the data centre. E.g. swipe card and biometric or Proximity and biometric based access control systems | To be inspected on site | Ready for review
CA.33 | The data centre facilities are manned by trained Security Guards round the clock, for restricting access to authorized individuals. | To be inspected on site | Ready for review
CA.34 | Entry and exit details of the visitors accessing the data centre facilities are logged and documented. Access to visitors is granted only after obtaining appropriate approvals from designated personnel in the management All visitors must be escorted by an authorized personnel while on the premises. | 1. Visitor access policy 2. Vendor access policy 3. List of vendor users who are authorized to access data centre for maintenance purposes (from the access control system) You can also provide a complete list of users from the access control system with their classification (vendor, customer, DigiPlex employee, etc. ) and we can select samples from it accordingly. 4. Visitor register for the year 2020 Samples for visitors and vendors to be selected after receipt of the population | Partially received | Pete |  | Missing per 19.10.2020: - Visitor access policy - Vendor access policy - List of vendor users who are authorized to access data centre for maintenance purposes Visitor register for the review period (1.1.2020 - 31.10.2020)
CA.35 | Movements of materials within the data centre is monitored and tracked, logged and only permitted with proper authorization | 1. SOP/ Procedure document describe the process of movement of materials 2. Goods Movement register for the year 2020 | Received | Pete |  | Missing per 19.10.2020: - SOP/Procedure document describe the process of movement of materials - Goods movement register for the review period (1.1.2020 - 31.10.2020)
CA.36 | Access to data centre facilities is granted to Digiplex employees based on approvals as per the access management procedures. Access to customers is granted based on approvals from authorized customer personnel through tickets documented in Service Now. | 1. List of authorized individuals who can access the data centre from the access control system with classification (employee, customer, vendor, etc.) 2. Samples to be selected after receipt of the entire list of users mentioned in point #1 | Partially received | Pete |  | Missing per 19.10.2020: - List of authorized individuals who can access the data centre from the access control system with classification - Samples to be selected after receipt of the entire list of users mentioned in point #1
CA.37 | There are formal processes for managing and controlling access to mechanical keys including: - Mechanical keys are kept in a hidden and physical secured lockbox at each location (separate systems) - Access to mechanical keys are restricted to a limited number of authorized personnel. Access to specific keys is granted based on needs - Code and fingerprint are required to gain access to lockbox | To be inspected on site | Ready for review

## DS1 List of Equipment
List of Equipment
| DS1 | [5 empty] | Deloitte comments
| Type | Serviced by | AMC Period |  | Maintenance Frequency & Reports
|  |  | Valid from | Valid till | Frequency | Report
UPS | ABB | ABB |  |  | Annual
DG | Catepillar | Pon Power AS |  |  | Bi-annual
Chiller (HVAC) | Munters | Munters | 01.01.2019 | Termination | Annual
CCTV | Milestone | Stanley | 2020-01-01 | 2023-12-31 | Annual
Fire Suppression | Stanley | Stanley |  |  | Bi-annual
Hypoxic, if applicable | Argonite | Stanley |  |  | Annual
Access Control | Stanley Security Manager | Stanley |  |  | Annual
Fire Extinguishers | Cupola | Cupola |  |  | Annual
BMS (Monitoring System) | Tridium Niagara |  |  |  | Pending